## FolderReportMainPage
| Result: |  |  | FX-test_S2A01_R1.bopx
| Test Time: |  |  | 2022-Aug-17 12:49(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 191
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 54.12 |  | 0.22 |  | 7,566 |  | <LM |  | N/A |  | 51.68 | 54.24
|  | 2 | 54.40 |  | 0.24 |  | 2,788 |  | <LM |  | N/A |  | 54.24 | 54.68
|  | 3 | 54.80 |  | 0.25 |  | 1,647 |  | <LM |  | N/A |  | 54.68 | 54.92
|  | 4 | 55.16 |  | 0.24 |  | 2,346 |  | <LM |  | N/A |  | 54.92 | 55.28
|  | 5 | 55.64 |  | 0.26 |  | 4,170 |  | <LM |  | N/A |  | 55.28 | 55.92
|  | 6 | 56.20 |  | 0.27 |  | 2,726 |  | <LM |  | N/A |  | 55.92 | 56.32
|  | 7 | 56.44 |  | 0.25 |  | 3,548 |  | <LM |  | N/A |  | 56.32 | 58.64
|  | 8 | 88.60 |  | 3.25 |  | 75,321 |  | <LM |  | N/A |  | 87.68 | 89.76
|  | 9 | 90.20 |  | 2.19 |  | 32,705 |  | <LM |  | N/A |  | 89.76 | 90.84
|  | 10 | 91.68 |  | 1.38 |  | 27,284 |  | <LM |  | N/A |  | 90.84 | 91.84
|  | 11 | 92.68 |  | 9.71 |  | 137,567 |  | 20 |  | N/A |  | 91.84 | 93.32
|  | 12 | 93.84 |  | 1.77 |  | 62,257 |  | 26 |  | 0.20 |  | 93.32 | 95.92
|  | 13 | 103.44 |  | 0.23 |  | 5,602 |  | 59 |  | 0.02 |  | 102.92 | 104.28
|  | 14 | 105.04 |  | 0.52 |  | 10,036 |  | 65 |  | 0.03 |  | 104.48 | 105.92
|  | 15 | 112.92 |  | 2.97 |  | 37,474 |  | 95 |  | 0.11 |  | 112.40 | 113.76
|  | 16 | 130.08 |  | 0.25 |  | 3,641 |  | 161 |  | <0.01 |  | 129.24 | 130.64
|  | 17 | 132.20 |  | 20.57 |  | 320,830 |  | 170 |  | 0.72 |  | 131.20 | 133.36
|  | 18 | 133.44 |  | 1.23 |  | 30,222 |  | 175 |  | 0.07 |  | 133.36 | 135.36
|  | 19 | 135.44 |  | 0.24 |  | 1,381 |  | 183 |  | <0.01 |  | 135.36 | 135.56
|  | 20 | 135.64 |  | 0.23 |  | 4,565 |  | 184 |  | <0.01 |  | 135.56 | 136.60
|  | 21 | 167.12 |  | 29.08 |  | 803,679 |  | 322 |  | 1.37 |  | 165.44 | 169.52
|  | 22 | 170.20 |  | 1.23 |  | 46,428 |  | 342 |  | 0.08 |  | 169.52 | 171.64
|  | 23 | 172.88 |  | 0.82 |  | 38,344 |  | 360 |  | 0.06 |  | 171.72 | 175.32
|  | 24 | 224.56 |  | 7.27 |  | 710,046 |  | 5,000 |  | N/A |  | 223.04 | 240.64
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2