## FolderReportMainPage
| Result: |  |  | FX-test_S2A02_R1.bopx
| Test Time: |  |  | 2022-Aug-17 12:58(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 190
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 88.44 |  | 3.27 |  | 75,552 |  | <LM |  | N/A |  | 87.52 | 89.60
|  | 2 | 90.04 |  | 2.28 |  | 35,909 |  | <LM |  | N/A |  | 89.60 | 90.80
|  | 3 | 91.52 |  | 1.42 |  | 27,260 |  | <LM |  | N/A |  | 90.80 | 91.72
|  | 4 | 92.52 |  | 9.84 |  | 135,625 |  | 20 |  | N/A |  | 91.72 | 93.12
|  | 5 | 93.76 |  | 1.80 |  | 63,108 |  | 27 |  | 0.21 |  | 93.12 | 95.64
|  | 6 | 104.84 |  | 0.50 |  | 10,661 |  | 65 |  | 0.03 |  | 104.20 | 105.84
|  | 7 | 112.72 |  | 2.75 |  | 34,753 |  | 95 |  | 0.10 |  | 112.20 | 113.52
|  | 8 | 129.84 |  | 0.26 |  | 4,484 |  | 161 |  | 0.01 |  | 129.12 | 130.32
|  | 9 | 131.96 |  | 19.98 |  | 341,658 |  | 170 |  | 0.76 |  | 130.80 | 135.52
|  | 10 | 167.04 |  | 20.97 |  | 723,606 |  | 324 |  | 1.23 |  | 165.36 | 169.48
|  | 11 | 170.56 |  | 1.95 |  | 71,204 |  | 347 |  | 0.12 |  | 169.48 | 171.84
|  | 12 | 173.12 |  | 1.66 |  | 59,615 |  | 364 |  | 0.10 |  | 171.84 | 175.04
|  | 13 | 224.12 |  | 7.25 |  | 690,336 |  | 5,000 |  | N/A |  | 222.48 | 234.56
|  | 14 | 234.68 |  | 0.50 |  | 22,908 |  | > 5k |  | N/A |  | 234.60 | 238.16
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2