## FolderReportMainPage
| Result: |  |  | FX-test_S2A03_R1.bopx
| Test Time: |  |  | 2022-Aug-17 13:06(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 189
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 88.28 |  | 3.30 |  | 77,262 |  | <LM |  | N/A |  | 87.36 | 89.40
|  | 2 | 89.88 |  | 2.48 |  | 36,866 |  | <LM |  | N/A |  | 89.40 | 90.52
|  | 3 | 91.36 |  | 1.47 |  | 29,792 |  | <LM |  | N/A |  | 90.52 | 91.52
|  | 4 | 92.32 |  | 9.97 |  | 140,283 |  | 20 |  | N/A |  | 91.52 | 92.96
|  | 5 | 93.52 |  | 1.91 |  | 62,552 |  | 27 |  | 0.21 |  | 93.00 | 95.44
|  | 6 | 104.60 |  | 0.54 |  | 11,020 |  | 65 |  | 0.03 |  | 104.04 | 105.52
|  | 7 | 112.48 |  | 2.48 |  | 31,962 |  | 95 |  | 0.09 |  | 111.88 | 113.24
|  | 8 | 131.68 |  | 18.96 |  | 326,206 |  | 170 |  | 0.73 |  | 130.72 | 135.32
|  | 9 | 167.32 |  | 15.39 |  | 376,250 |  | 328 |  | 0.64 |  | 165.68 | 169.20
|  | 10 | 170.80 |  | 10.81 |  | 316,202 |  | 351 |  | 0.53 |  | 169.24 | 174.72
|  | 11 | 183.76 |  | 0.55 |  | 14,620 |  | 459 |  | 0.02 |  | 181.48 | 183.84
|  | 12 | 184.04 |  | 0.57 |  | 3,869 |  | 462 |  | <0.01 |  | 183.88 | 184.12
|  | 13 | 184.24 |  | 0.57 |  | 33,001 |  | 464 |  | 0.05 |  | 184.12 | 188.80
|  | 14 | 223.48 |  | 7.29 |  | 660,076 |  | 5,000 |  | N/A |  | 221.84 | 232.04
|  | 15 | 232.12 |  | 0.90 |  | 53,590 |  | > 5k |  | N/A |  | 232.04 | 237.72
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2