## FolderReportMainPage
| Result: |  |  | FX-test_S2A04_R1.bopx
| Test Time: |  |  | 2022-Aug-17 13:15(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 188
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 53.96 |  | 0.25 |  | 7,616 |  | <LM |  | N/A |  | 52.80 | 54.24
|  | 2 | 54.52 |  | 0.26 |  | 2,656 |  | <LM |  | N/A |  | 54.24 | 54.64
|  | 3 | 54.80 |  | 0.26 |  | 1,726 |  | <LM |  | N/A |  | 54.64 | 54.88
|  | 4 | 55.28 |  | 0.27 |  | 3,853 |  | <LM |  | N/A |  | 54.88 | 55.44
|  | 5 | 55.56 |  | 0.27 |  | 1,566 |  | <LM |  | N/A |  | 55.44 | 55.64
|  | 6 | 55.76 |  | 0.27 |  | 1,842 |  | <LM |  | N/A |  | 55.64 | 55.88
|  | 7 | 56.16 |  | 0.27 |  | 5,678 |  | <LM |  | N/A |  | 55.88 | 58.28
|  | 8 | 88.16 |  | 3.21 |  | 77,719 |  | <LM |  | N/A |  | 87.24 | 89.36
|  | 9 | 89.80 |  | 2.55 |  | 38,006 |  | <LM |  | N/A |  | 89.36 | 90.48
|  | 10 | 91.24 |  | 1.44 |  | 27,447 |  | <LM |  | N/A |  | 90.48 | 91.40
|  | 11 | 92.24 |  | 9.67 |  | 139,614 |  | 20 |  | N/A |  | 91.40 | 92.92
|  | 12 | 93.36 |  | 1.80 |  | 59,060 |  | 26 |  | 0.19 |  | 92.92 | 95.40
|  | 13 | 104.52 |  | 0.43 |  | 9,077 |  | 65 |  | 0.03 |  | 103.88 | 105.40
|  | 14 | 112.40 |  | 0.54 |  | 6,477 |  | 95 |  | 0.02 |  | 112.04 | 113.00
|  | 15 | 129.44 |  | 0.33 |  | 5,283 |  | 161 |  | 0.01 |  | 128.76 | 129.96
|  | 16 | 131.44 |  | 31.59 |  | 589,489 |  | 169 |  | 1.33 |  | 130.44 | 136.04
|  | 17 | 167.24 |  | 0.25 |  | 7,419 |  | 329 |  | 0.01 |  | 165.92 | 168.56
|  | 18 | 170.72 |  | 12.71 |  | 335,096 |  | 352 |  | 0.56 |  | 169.24 | 173.28
|  | 19 | 173.36 |  | 0.39 |  | 7,757 |  | 370 |  | 0.01 |  | 173.28 | 174.88
|  | 20 | 177.76 |  | 5.25 |  | 137,240 |  | 403 |  | 0.23 |  | 176.44 | 179.68
|  | 21 | 221.76 |  | 0.25 |  | 17,116 |  | 4,495 |  | <0.01 |  | 218.56 | 221.92
|  | 22 | 223.32 |  | 7.81 |  | 680,027 |  | 5,000 |  | N/A |  | 221.92 | 233.56
|  | 23 | 234.32 |  | 0.28 |  | 9,485 |  | > 5k |  | N/A |  | 234.04 | 236.48
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2