## FolderReportMainPage
| Result: |  |  | FX_S2A01_R1.bopx
| Test Time: |  |  | 2022-Oct-28 15:31(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 143
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.04 |  | 0.17 |  | 4,634 |  | <LM |  | N/A |  | 54.48 | 56.16
|  | 2 | 56.28 |  | 0.17 |  | 994 |  | <LM |  | N/A |  | 56.16 | 56.36
|  | 3 | 56.44 |  | 0.17 |  | 1,016 |  | <LM |  | N/A |  | 56.36 | 56.56
|  | 4 | 56.88 |  | 0.17 |  | 3,024 |  | <LM |  | N/A |  | 56.56 | 57.24
|  | 5 | 57.52 |  | 0.17 |  | 1,676 |  | <LM |  | N/A |  | 57.24 | 57.60
|  | 6 | 57.72 |  | 0.17 |  | 1,556 |  | <LM |  | N/A |  | 57.64 | 57.96
|  | 7 | 58.04 |  | 0.17 |  | 853 |  | <LM |  | N/A |  | 57.96 | 58.12
|  | 8 | 58.32 |  | 0.18 |  | 2,240 |  | <LM |  | N/A |  | 58.16 | 58.64
|  | 9 | 58.80 |  | 0.17 |  | 2,055 |  | <LM |  | N/A |  | 58.64 | 59.56
|  | 10 | 89.52 |  | 1.82 |  | 42,420 |  | <LM |  | N/A |  | 88.56 | 90.48
|  | 11 | 91.16 |  | 1.23 |  | 21,307 |  | <LM |  | N/A |  | 90.48 | 91.68
|  | 12 | 92.68 |  | 1.25 |  | 25,031 |  | <LM |  | N/A |  | 91.68 | 92.80
|  | 13 | 93.72 |  | 20.33 |  | 252,886 |  | 20 |  | N/A |  | 92.80 | 94.36
|  | 14 | 94.52 |  | 1.48 |  | 21,811 |  | 22 |  | 0.09 |  | 94.36 | 94.96
|  | 15 | 95.12 |  | 1.22 |  | 31,514 |  | 24 |  | 0.11 |  | 94.96 | 97.20
|  | 16 | 136.48 |  | 1.54 |  | 48,308 |  | 167 |  | 0.15 |  | 135.40 | 139.40
|  | 17 | 174.80 |  | 9.53 |  | 500,284 |  | 331 |  | 1.23 |  | 172.12 | 180.28
|  | 18 | 181.68 |  | 0.35 |  | 17,546 |  | 371 |  | 0.04 |  | 180.28 | 183.60
|  | 19 | 234.00 |  | 13.35 |  | 962,571 |  | 5,000 |  | N/A |  | 232.88 | 239.92
|  | 20 | 241.68 |  | 1.41 |  | 206,262 |  | > 5k |  | N/A |  | 239.92 | 250.16
|  | 21 | 250.24 |  | 0.18 |  | 6,844 |  | > 5k |  | N/A |  | 250.16 | 252.12
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2