## FolderReportMainPage
| Result: |  |  | FX_S2A03_R1.bopx
| Test Time: |  |  | 2022-Oct-28 15:50(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 141
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.04 |  | 0.17 |  | 5,380 |  | <LM |  | N/A |  | 54.76 | 56.32
|  | 2 | 56.44 |  | 0.17 |  | 1,868 |  | <LM |  | N/A |  | 56.32 | 56.72
|  | 3 | 56.84 |  | 0.17 |  | 1,343 |  | <LM |  | N/A |  | 56.72 | 57.00
|  | 4 | 57.24 |  | 0.17 |  | 2,187 |  | <LM |  | N/A |  | 57.00 | 57.48
|  | 5 | 57.64 |  | 0.18 |  | 1,525 |  | <LM |  | N/A |  | 57.48 | 57.80
|  | 6 | 57.96 |  | 0.18 |  | 2,066 |  | <LM |  | N/A |  | 57.80 | 58.24
|  | 7 | 58.40 |  | 0.18 |  | 2,984 |  | <LM |  | N/A |  | 58.24 | 60.36
|  | 8 | 89.12 |  | 1.62 |  | 15,505 |  | <LM |  | N/A |  | 88.48 | 89.20
|  | 9 | 89.40 |  | 1.84 |  | 28,466 |  | <LM |  | N/A |  | 89.20 | 90.28
|  | 10 | 90.56 |  | 0.46 |  | 4,013 |  | <LM |  | N/A |  | 90.32 | 90.64
|  | 11 | 91.08 |  | 1.35 |  | 19,914 |  | <LM |  | N/A |  | 90.64 | 91.60
|  | 12 | 92.56 |  | 1.25 |  | 24,717 |  | <LM |  | N/A |  | 91.60 | 92.68
|  | 13 | 93.60 |  | 20.54 |  | 256,510 |  | 20 |  | N/A |  | 92.68 | 94.28
|  | 14 | 94.44 |  | 1.50 |  | 20,660 |  | 22 |  | 0.08 |  | 94.28 | 94.84
|  | 15 | 95.00 |  | 1.23 |  | 31,922 |  | 24 |  | 0.12 |  | 94.84 | 97.04
|  | 16 | 136.24 |  | 1.75 |  | 55,143 |  | 167 |  | 0.17 |  | 135.24 | 139.52
|  | 17 | 175.76 |  | 7.79 |  | 389,127 |  | 338 |  | 0.95 |  | 172.80 | 178.52
|  | 18 | 179.00 |  | 0.39 |  | 5,378 |  | 357 |  | 0.01 |  | 178.52 | 179.04
|  | 19 | 181.96 |  | 0.29 |  | 13,803 |  | 374 |  | 0.03 |  | 180.80 | 184.60
|  | 20 | 233.68 |  | 13.14 |  | 948,332 |  | 5,000 |  | N/A |  | 232.64 | 239.56
|  | 21 | 241.08 |  | 1.43 |  | 65,568 |  | > 5k |  | N/A |  | 239.60 | 241.52
|  | 22 | 241.64 |  | 1.42 |  | 158,460 |  | > 5k |  | N/A |  | 241.52 | 253.96
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2