## FolderReportMainPage
| Result: |  |  | FX_S2A04_R1.bopx
| Test Time: |  |  | 2022-Oct-28 15:59(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 140
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 89.00 |  | 1.56 |  | 15,448 |  | <LM |  | N/A |  | 88.40 | 89.12
|  | 2 | 89.32 |  | 1.80 |  | 26,487 |  | <LM |  | N/A |  | 89.12 | 90.16
|  | 3 | 90.48 |  | 0.44 |  | 4,822 |  | <LM |  | N/A |  | 90.16 | 90.56
|  | 4 | 90.96 |  | 1.33 |  | 19,427 |  | <LM |  | N/A |  | 90.56 | 91.48
|  | 5 | 92.44 |  | 1.27 |  | 25,320 |  | <LM |  | N/A |  | 91.48 | 92.56
|  | 6 | 93.48 |  | 20.91 |  | 260,563 |  | 20 |  | N/A |  | 92.56 | 94.16
|  | 7 | 94.28 |  | 1.50 |  | 20,655 |  | 22 |  | 0.08 |  | 94.16 | 94.72
|  | 8 | 94.84 |  | 1.22 |  | 30,576 |  | 24 |  | 0.11 |  | 94.72 | 96.88
|  | 9 | 136.04 |  | 1.93 |  | 57,514 |  | 167 |  | 0.18 |  | 135.04 | 138.84
|  | 10 | 174.24 |  | 4.61 |  | 235,105 |  | 331 |  | 0.58 |  | 171.84 | 177.04
|  | 11 | 178.32 |  | 3.17 |  | 145,250 |  | 355 |  | 0.35 |  | 177.04 | 181.04
|  | 12 | 233.24 |  | 13.97 |  | 1,025,226 |  | 5,000 |  | N/A |  | 232.20 | 239.52
|  | 13 | 240.24 |  | 1.27 |  | 31,182 |  | > 5k |  | N/A |  | 239.52 | 240.48
|  | 14 | 240.60 |  | 1.32 |  | 159,478 |  | > 5k |  | N/A |  | 240.48 | 252.24
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2