## FolderReportMainPage
| Result: |  |  | FX_S2A08_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:36(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 136
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.32 |  | 0.18 |  | 3,881 |  | <LM |  | N/A |  | 56.16 | 57.04
|  | 2 | 57.68 |  | 0.17 |  | 2,365 |  | <LM |  | N/A |  | 57.40 | 57.92
|  | 3 | 58.04 |  | 0.17 |  | 856 |  | <LM |  | N/A |  | 57.96 | 58.12
|  | 4 | 58.24 |  | 0.18 |  | 1,204 |  | <LM |  | N/A |  | 58.12 | 58.36
|  | 5 | 58.48 |  | 0.18 |  | 2,912 |  | <LM |  | N/A |  | 58.36 | 60.36
|  | 6 | 89.60 |  | 1.91 |  | 44,377 |  | <LM |  | N/A |  | 88.60 | 90.48
|  | 7 | 90.68 |  | 0.47 |  | 4,611 |  | <LM |  | N/A |  | 90.48 | 90.84
|  | 8 | 91.28 |  | 1.40 |  | 20,185 |  | <LM |  | N/A |  | 90.84 | 91.76
|  | 9 | 92.72 |  | 1.32 |  | 26,700 |  | <LM |  | N/A |  | 91.76 | 92.88
|  | 10 | 93.80 |  | 20.73 |  | 277,015 |  | 20 |  | N/A |  | 92.88 | 94.96
|  | 11 | 95.20 |  | 1.30 |  | 34,881 |  | 24 |  | 0.13 |  | 95.00 | 97.28
|  | 12 | 136.36 |  | 2.44 |  | 75,655 |  | 167 |  | 0.24 |  | 135.24 | 139.76
|  | 13 | 175.12 |  | 9.99 |  | 500,128 |  | 334 |  | 1.23 |  | 172.44 | 180.52
|  | 14 | 181.76 |  | 0.20 |  | 9,522 |  | 373 |  | 0.02 |  | 180.56 | 184.92
|  | 15 | 233.64 |  | 13.07 |  | 935,167 |  | 5,000 |  | N/A |  | 232.52 | 239.48
|  | 16 | 241.08 |  | 1.49 |  | 228,893 |  | > 5k |  | N/A |  | 239.48 | 250.56
|  | 17 | 250.64 |  | 0.20 |  | 18,023 |  | > 5k |  | N/A |  | 250.56 | 256.88
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2