## FolderReportMainPage
| Result: |  |  | FX_S2A09_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:45(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 135
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.20 |  | 0.17 |  | 6,668 |  | <LM |  | N/A |  | 53.76 | 56.40
|  | 2 | 56.60 |  | 0.17 |  | 2,107 |  | <LM |  | N/A |  | 56.44 | 56.92
|  | 3 | 57.12 |  | 0.17 |  | 1,805 |  | <LM |  | N/A |  | 56.92 | 57.32
|  | 4 | 57.60 |  | 0.17 |  | 1,831 |  | <LM |  | N/A |  | 57.36 | 57.76
|  | 5 | 58.08 |  | 0.18 |  | 1,880 |  | <LM |  | N/A |  | 57.80 | 58.20
|  | 6 | 58.28 |  | 0.17 |  | 3,032 |  | <LM |  | N/A |  | 58.20 | 65.20
|  | 7 | 89.24 |  | 1.61 |  | 15,530 |  | <LM |  | N/A |  | 88.64 | 89.36
|  | 8 | 89.56 |  | 1.86 |  | 29,125 |  | <LM |  | N/A |  | 89.36 | 90.52
|  | 9 | 90.68 |  | 0.44 |  | 3,420 |  | <LM |  | N/A |  | 90.52 | 90.80
|  | 10 | 91.24 |  | 1.34 |  | 19,340 |  | <LM |  | N/A |  | 90.80 | 91.72
|  | 11 | 92.72 |  | 1.28 |  | 25,412 |  | <LM |  | N/A |  | 91.76 | 92.84
|  | 12 | 93.76 |  | 20.75 |  | 258,465 |  | 20 |  | N/A |  | 92.84 | 94.44
|  | 13 | 94.56 |  | 1.52 |  | 19,503 |  | 22 |  | 0.08 |  | 94.44 | 94.96
|  | 14 | 95.16 |  | 1.24 |  | 31,672 |  | 24 |  | 0.11 |  | 94.96 | 97.08
|  | 15 | 136.36 |  | 2.86 |  | 86,458 |  | 167 |  | 0.27 |  | 135.24 | 139.96
|  | 16 | 176.20 |  | 6.47 |  | 270,770 |  | 340 |  | 0.66 |  | 173.32 | 177.84
|  | 17 | 179.12 |  | 5.11 |  | 241,552 |  | 357 |  | 0.58 |  | 177.84 | 183.88
|  | 18 | 193.36 |  | 0.25 |  | 12,783 |  | 460 |  | 0.03 |  | 190.40 | 193.64
|  | 19 | 193.76 |  | 0.24 |  | 11,959 |  | 464 |  | 0.03 |  | 193.64 | 197.36
|  | 20 | 233.76 |  | 12.56 |  | 900,721 |  | 5,000 |  | N/A |  | 232.64 | 239.64
|  | 21 | 241.08 |  | 1.54 |  | 229,597 |  | > 5k |  | N/A |  | 239.64 | 250.40
|  | 22 | 250.52 |  | 0.19 |  | 1,479 |  | > 5k |  | N/A |  | 250.48 | 250.76
|  | 23 | 250.88 |  | 0.19 |  | 8,070 |  | > 5k |  | N/A |  | 250.76 | 252.88
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2