## FolderReportMainPage
| Result: |  |  | FX_S2A11_R1.bopx
| Test Time: |  |  | 2022-Oct-28 17:03(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 133
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 89.40 |  | 1.88 |  | 43,755 |  | <LM |  | N/A |  | 88.44 | 90.32
|  | 2 | 90.48 |  | 0.45 |  | 4,422 |  | <LM |  | N/A |  | 90.32 | 90.68
|  | 3 | 91.08 |  | 1.34 |  | 19,167 |  | <LM |  | N/A |  | 90.68 | 91.56
|  | 4 | 92.48 |  | 1.32 |  | 26,127 |  | <LM |  | N/A |  | 91.56 | 92.64
|  | 5 | 93.52 |  | 21.01 |  | 260,007 |  | 20 |  | N/A |  | 92.64 | 94.20
|  | 6 | 94.36 |  | 1.54 |  | 21,298 |  | 22 |  | 0.08 |  | 94.20 | 94.76
|  | 7 | 94.92 |  | 1.27 |  | 31,477 |  | 24 |  | 0.11 |  | 94.76 | 96.84
|  | 8 | 136.08 |  | 2.43 |  | 73,521 |  | 167 |  | 0.23 |  | 134.96 | 139.20
|  | 9 | 174.12 |  | 11.86 |  | 543,759 |  | 330 |  | 1.34 |  | 171.44 | 176.92
|  | 10 | 177.48 |  | 0.69 |  | 32,632 |  | 350 |  | 0.08 |  | 176.92 | 179.60
|  | 11 | 180.96 |  | 0.48 |  | 25,991 |  | 370 |  | 0.06 |  | 179.60 | 183.52
|  | 12 | 233.24 |  | 12.65 |  | 911,513 |  | 5,000 |  | N/A |  | 232.12 | 238.96
|  | 13 | 240.48 |  | 1.53 |  | 63,554 |  | > 5k |  | N/A |  | 238.96 | 240.72
|  | 14 | 240.84 |  | 1.57 |  | 194,035 |  | > 5k |  | N/A |  | 240.72 | 255.24
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2