## FolderReportMainPage
| Result: |  |  | 1101119Fx_samples_S1_Fx_sample26_repeat29,44.bopx
| Test Time: |  |  | 2021-Nov-19 16:20(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 175
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample26_repeat29,44 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 58.68 |  | 0.17 |  | 7,662 |  | <LM |  | N/A |  | 56.52 | 58.80
|  | 2 | 58.92 |  | 0.17 |  | 2,001 |  | <LM |  | N/A |  | 58.80 | 59.24
|  | 3 | 59.64 |  | 0.18 |  | 2,385 |  | <LM |  | N/A |  | 59.32 | 59.84
|  | 4 | 60.04 |  | 0.18 |  | 2,084 |  | <LM |  | N/A |  | 59.84 | 60.28
|  | 5 | 60.40 |  | 0.18 |  | 2,226 |  | <LM |  | N/A |  | 60.28 | 61.72
|  | 6 | 100.96 |  | 1.42 |  | 40,889 |  | <LM |  | N/A |  | 100.24 | 101.92
|  | 7 | 102.24 |  | 0.81 |  | 15,464 |  | <LM |  | N/A |  | 101.92 | 102.68
|  | 8 | 103.24 |  | 2.28 |  | 46,120 |  | <LM |  | N/A |  | 102.68 | 104.20
|  | 9 | 104.68 |  | 1.23 |  | 17,535 |  | <LM |  | N/A |  | 104.20 | 104.84
|  | 10 | 106.12 |  | 20.38 |  | 273,246 |  | 20 |  | N/A |  | 104.84 | 106.80
|  | 11 | 106.96 |  | 1.95 |  | 31,424 |  | 22 |  | 0.17 |  | 106.80 | 107.48
|  | 12 | 108.36 |  | 2.33 |  | 85,473 |  | 26 |  | 0.38 |  | 107.48 | 110.60
|  | 13 | 120.32 |  | 0.27 |  | 8,267 |  | 59 |  | 0.02 |  | 119.48 | 121.60
|  | 14 | 150.44 |  | 0.31 |  | 7,834 |  | 159 |  | 0.03 |  | 149.64 | 150.96
|  | 15 | 151.92 |  | 6.18 |  | 147,259 |  | 164 |  | 0.61 |  | 150.96 | 154.96
|  | 16 | 192.84 |  | 13.54 |  | 450,417 |  | 318 |  | 1.49 |  | 190.28 | 195.12
|  | 17 | 195.48 |  | 0.38 |  | 9,819 |  | 332 |  | 0.03 |  | 195.36 | 196.76
|  | 18 | 202.12 |  | 7.78 |  | 274,896 |  | 368 |  | 0.85 |  | 200.40 | 206.36
|  | 19 | 212.12 |  | 0.32 |  | 29,212 |  | 429 |  | 0.09 |  | 210.20 | 217.96
|  | 20 | 261.48 |  | 11.88 |  | 815,898 |  | 5,000 |  | N/A |  | 260.28 | 267.28
|  | 21 | 269.88 |  | 1.80 |  | 299,398 |  | > 5k |  | N/A |  | 267.32 | 288.00
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2