## FolderReportMainPage
| Result: |  |  | 1101124Fx samples_S1_sample11_repeat37,41.bopx
| Test Time: |  |  | 2021-Nov-24 14:06(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 147
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample11_repeat37,41 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.52 |  | 0.17 |  | 4,891 |  | <LM |  | N/A |  | 60.12 | 61.24
|  | 2 | 61.52 |  | 0.18 |  | 5,857 |  | <LM |  | N/A |  | 61.28 | 63.32
|  | 3 | 107.48 |  | 2.75 |  | 68,291 |  | <LM |  | N/A |  | 106.28 | 108.72
|  | 4 | 109.24 |  | 2.06 |  | 43,169 |  | <LM |  | N/A |  | 108.72 | 110.44
|  | 5 | 111.24 |  | 0.86 |  | 17,455 |  | <LM |  | N/A |  | 110.44 | 111.44
|  | 6 | 113.24 |  | 16.50 |  | 239,942 |  | 20 |  | N/A |  | 111.48 | 113.96
|  | 7 | 114.12 |  | 1.41 |  | 23,555 |  | 22 |  | 0.11 |  | 113.96 | 114.68
|  | 8 | 116.16 |  | 2.15 |  | 91,474 |  | 27 |  | 0.34 |  | 114.76 | 117.68
|  | 9 | 125.56 |  | 0.18 |  | 2,296 |  | 50 |  | <0.01 |  | 125.08 | 126.00
|  | 10 | 162.52 |  | 4.35 |  | 106,548 |  | 163 |  | 0.40 |  | 161.48 | 165.44
|  | 11 | 212.36 |  | 8.25 |  | 273,078 |  | 344 |  | 0.81 |  | 209.92 | 213.48
|  | 12 | 214.44 |  | 6.24 |  | 237,892 |  | 354 |  | 0.70 |  | 213.48 | 217.20
|  | 13 | 217.32 |  | 0.20 |  | 6,986 |  | 368 |  | 0.02 |  | 217.20 | 219.36
|  | 14 | 228.52 |  | 0.24 |  | 9,696 |  | 432 |  | 0.03 |  | 226.76 | 230.92
|  | 15 | 239.04 |  | 0.32 |  | 15,365 |  | 526 |  | 0.04 |  | 236.88 | 241.04
|  | 16 | 281.20 |  | 8.83 |  | 701,067 |  | 5,000 |  | N/A |  | 279.72 | 287.64
|  | 17 | 290.00 |  | 1.39 |  | 233,008 |  | > 5k |  | N/A |  | 287.64 | 306.36
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2