## FolderReportMainPage
| Result: |  |  | 1110124HD clinical sample_B1_repeat17,18.bopx
| Test Time: |  |  | 2022-Feb-12 10:02(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 133
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_B1_repeat17,18 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 112.60 |  | 2.21 |  | 34,358 |  | <LM |  | N/A |  | 111.28 | 112.96
|  | 2 | 113.36 |  | 1.96 |  | 29,327 |  | <LM |  | N/A |  | 112.96 | 114.32
|  | 3 | 118.36 |  | 0.20 |  | 5,792 |  | <LM |  | N/A |  | 116.84 | 118.72
|  | 4 | 120.80 |  | 22.49 |  | 328,390 |  | 20 |  | N/A |  | 118.72 | 122.80
|  | 5 | 155.04 |  | 0.22 |  | 4,551 |  | 109 |  | 0.01 |  | 153.52 | 155.16
|  | 6 | 156.08 |  | 1.13 |  | 18,117 |  | 111 |  | 0.04 |  | 155.20 | 156.24
|  | 7 | 157.00 |  | 8.13 |  | 160,036 |  | 114 |  | 0.37 |  | 156.24 | 157.56
|  | 8 | 158.04 |  | 6.34 |  | 147,334 |  | 117 |  | 0.34 |  | 157.56 | 159.00
|  | 9 | 159.64 |  | 2.96 |  | 69,021 |  | 121 |  | 0.16 |  | 159.00 | 160.28
|  | 10 | 160.80 |  | 2.63 |  | 70,052 |  | 124 |  | 0.16 |  | 160.28 | 162.32
|  | 11 | 162.48 |  | 0.40 |  | 9,202 |  | 128 |  | 0.02 |  | 162.32 | 164.04
|  | 12 | 228.08 |  | 0.27 |  | 7,077 |  | 330 |  | 0.01 |  | 225.92 | 228.20
|  | 13 | 228.40 |  | 0.27 |  | 7,753 |  | 331 |  | 0.01 |  | 228.24 | 230.72
|  | 14 | 251.08 |  | 8.51 |  | 307,375 |  | 450 |  | 0.45 |  | 249.52 | 255.44
|  | 15 | 276.60 |  | 22.84 |  | 1,159,398 |  | 1,000 |  | N/A |  | 275.28 | 289.76
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2