## FolderReportMainPage
| Result: |  |  | 1110124HD clinical sample_B3_repeat17,18.bopx
| Test Time: |  |  | 2022-Feb-12 10:09(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 132
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_B3_repeat17,18 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 112.64 |  | 2.28 |  | 36,290 |  | <LM |  | N/A |  | 111.44 | 113.04
|  | 2 | 113.40 |  | 1.98 |  | 29,949 |  | <LM |  | N/A |  | 113.04 | 114.36
|  | 3 | 120.72 |  | 22.32 |  | 331,070 |  | 20 |  | N/A |  | 118.68 | 122.72
|  | 4 | 154.76 |  | 0.22 |  | 2,960 |  | 108 |  | <0.01 |  | 154.04 | 154.88
|  | 5 | 155.84 |  | 1.15 |  | 20,096 |  | 111 |  | 0.05 |  | 154.88 | 156.08
|  | 6 | 156.80 |  | 8.40 |  | 160,006 |  | 113 |  | 0.37 |  | 156.08 | 157.36
|  | 7 | 157.80 |  | 6.71 |  | 145,241 |  | 116 |  | 0.33 |  | 157.36 | 158.76
|  | 8 | 159.40 |  | 2.75 |  | 62,647 |  | 120 |  | 0.14 |  | 158.76 | 160.00
|  | 9 | 160.56 |  | 2.42 |  | 64,792 |  | 123 |  | 0.15 |  | 160.00 | 162.00
|  | 10 | 162.16 |  | 0.38 |  | 8,867 |  | 127 |  | 0.02 |  | 162.00 | 163.68
|  | 11 | 227.52 |  | 0.26 |  | 15,405 |  | 326 |  | 0.02 |  | 223.68 | 229.48
|  | 12 | 251.12 |  | 6.93 |  | 243,678 |  | 447 |  | 0.36 |  | 249.48 | 255.32
|  | 13 | 277.24 |  | 23.75 |  | 1,167,081 |  | 1,000 |  | N/A |  | 275.88 | 285.72
|  | 14 | 285.80 |  | 0.23 |  | 10,165 |  | 1,500 |  | 0.06 |  | 285.72 | 288.64
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2