## FolderReportMainPage
| Result: |  |  | 1110124HD clinical sample_C2_repeat17,21.bopx
| Test Time: |  |  | 2022-Jan-25 10:36(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 155
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_C2_repeat17,21 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 109.76 |  | 2.56 |  | 37,606 |  | <LM |  | N/A |  | 108.36 | 110.12
|  | 2 | 110.48 |  | 2.29 |  | 31,068 |  | <LM |  | N/A |  | 110.12 | 111.60
|  | 3 | 115.96 |  | 0.20 |  | 2,760 |  | <LM |  | N/A |  | 115.40 | 116.20
|  | 4 | 117.08 |  | 0.78 |  | 11,310 |  | <LM |  | N/A |  | 116.20 | 117.24
|  | 5 | 118.40 |  | 26.59 |  | 346,118 |  | 20 |  | N/A |  | 117.24 | 120.40
|  | 6 | 153.92 |  | 0.98 |  | 16,358 |  | 116 |  | 0.04 |  | 152.92 | 154.12
|  | 7 | 154.84 |  | 7.18 |  | 149,456 |  | 118 |  | 0.34 |  | 154.12 | 156.04
|  | 8 | 156.44 |  | 0.55 |  | 12,499 |  | 123 |  | 0.03 |  | 156.04 | 157.00
|  | 9 | 158.00 |  | 1.37 |  | 26,927 |  | 127 |  | 0.06 |  | 157.00 | 158.16
|  | 10 | 158.92 |  | 7.00 |  | 162,336 |  | 129 |  | 0.36 |  | 158.16 | 160.28
|  | 11 | 160.52 |  | 0.55 |  | 11,696 |  | 134 |  | 0.03 |  | 160.28 | 161.16
|  | 12 | 162.08 |  | 0.88 |  | 28,876 |  | 138 |  | 0.06 |  | 161.16 | 162.84
|  | 13 | 163.72 |  | 1.41 |  | 47,430 |  | 142 |  | 0.10 |  | 162.84 | 165.60
|  | 14 | 226.92 |  | 0.20 |  | 6,782 |  | 344 |  | 0.01 |  | 225.12 | 228.64
|  | 15 | 249.08 |  | 5.03 |  | 178,819 |  | 467 |  | 0.25 |  | 247.76 | 252.48
|  | 16 | 271.96 |  | 27.51 |  | 1,258,987 |  | 1,000 |  | N/A |  | 270.60 | 279.24
|  | 17 | 279.32 |  | 0.25 |  | 15,306 |  | 1,413 |  | 0.06 |  | 279.24 | 284.44
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2