## FolderReportMainPage
| Result: |  |  | 1110212HD clinical sample_B8_repeat17,18.bopx
| Test Time: |  |  | 2022-Feb-12 09:18(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 137
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_B8_repeat17,18 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 52.16 |  | 0.20 |  | 3,700 |  | <LM |  | N/A |  | 51.08 | 52.24
|  | 2 | 52.56 |  | 0.22 |  | 7,267 |  | <LM |  | N/A |  | 52.24 | 54.80
|  | 3 | 111.76 |  | 0.37 |  | 5,060 |  | <LM |  | N/A |  | 111.16 | 111.92
|  | 4 | 112.52 |  | 2.60 |  | 34,196 |  | <LM |  | N/A |  | 111.92 | 112.92
|  | 5 | 113.32 |  | 2.40 |  | 32,950 |  | <LM |  | N/A |  | 112.92 | 114.36
|  | 6 | 118.68 |  | 0.21 |  | 5,901 |  | <LM |  | N/A |  | 117.44 | 119.12
|  | 7 | 119.96 |  | 0.69 |  | 10,509 |  | <LM |  | N/A |  | 119.12 | 120.12
|  | 8 | 121.32 |  | 24.77 |  | 323,917 |  | 20 |  | N/A |  | 120.12 | 123.24
|  | 9 | 158.52 |  | 6.26 |  | 137,041 |  | 117 |  | 0.32 |  | 156.52 | 159.00
|  | 10 | 159.52 |  | 8.19 |  | 193,537 |  | 120 |  | 0.44 |  | 159.00 | 160.72
|  | 11 | 161.60 |  | 3.34 |  | 84,956 |  | 126 |  | 0.19 |  | 160.72 | 162.24
|  | 12 | 162.80 |  | 3.17 |  | 82,902 |  | 129 |  | 0.19 |  | 162.24 | 164.48
|  | 13 | 165.04 |  | 0.40 |  | 13,999 |  | 135 |  | 0.03 |  | 164.48 | 167.08
|  | 14 | 232.48 |  | 0.28 |  | 11,754 |  | 351 |  | 0.02 |  | 230.64 | 234.36
|  | 15 | 252.12 |  | 10.84 |  | 389,373 |  | 459 |  | 0.57 |  | 250.84 | 257.44
|  | 16 | 276.00 |  | 21.42 |  | 1,105,012 |  | 1,000 |  | N/A |  | 274.60 | 284.16
|  | 17 | 284.76 |  | 0.24 |  | 5,981 |  | 1,526 |  | 0.04 |  | 284.28 | 285.24
|  | 18 | 285.44 |  | 0.23 |  | 3,177 |  | 1,587 |  | 0.02 |  | 285.28 | 285.80
|  | 19 | 285.92 |  | 0.22 |  | 3,348 |  | 1,631 |  | 0.03 |  | 285.80 | 286.40
|  | 20 | 286.48 |  | 0.21 |  | 19,557 |  | 1,684 |  | 0.20 |  | 286.40 | 292.56
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2