## FolderReportMainPage
| Result: |  |  | 1110212HD clinical sample_C1_repeat17,21.bopx
| Test Time: |  |  | 2022-Feb-12 09:25(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 136
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_C1_repeat17,21 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 113.84 |  | 0.53 |  | 7,135 |  | <LM |  | N/A |  | 113.20 | 113.96
|  | 2 | 114.48 |  | 2.66 |  | 37,241 |  | <LM |  | N/A |  | 113.96 | 114.92
|  | 3 | 115.32 |  | 2.46 |  | 35,874 |  | <LM |  | N/A |  | 114.92 | 116.32
|  | 4 | 123.20 |  | 22.35 |  | 329,395 |  | 20 |  | N/A |  | 121.04 | 125.12
|  | 5 | 159.56 |  | 1.49 |  | 21,701 |  | 112 |  | 0.05 |  | 158.56 | 159.68
|  | 6 | 160.48 |  | 11.25 |  | 245,937 |  | 115 |  | 0.56 |  | 159.68 | 161.68
|  | 7 | 162.08 |  | 0.89 |  | 20,433 |  | 119 |  | 0.05 |  | 161.68 | 162.76
|  | 8 | 163.44 |  | 0.89 |  | 23,596 |  | 122 |  | 0.05 |  | 162.76 | 164.00
|  | 9 | 164.80 |  | 2.53 |  | 61,206 |  | 126 |  | 0.13 |  | 164.04 | 166.20
|  | 10 | 167.80 |  | 0.32 |  | 9,778 |  | 134 |  | 0.02 |  | 166.88 | 168.60
|  | 11 | 169.56 |  | 0.66 |  | 20,838 |  | 138 |  | 0.04 |  | 168.60 | 171.04
|  | 12 | 234.08 |  | 0.26 |  | 11,777 |  | 336 |  | 0.02 |  | 232.04 | 236.92
|  | 13 | 256.32 |  | 10.93 |  | 365,673 |  | 450 |  | 0.53 |  | 255.20 | 260.72
|  | 14 | 282.32 |  | 23.44 |  | 1,149,454 |  | 1,000 |  | N/A |  | 281.00 | 290.88
|  | 15 | 290.96 |  | 0.34 |  | 9,125 |  | 1,495 |  | 0.05 |  | 290.88 | 292.04
|  | 16 | 292.16 |  | 0.26 |  | 16,140 |  | 1,598 |  | 0.12 |  | 292.04 | 296.60
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2