## FolderReportMainPage
| Result: |  |  | 1110212HD clinical sample_C6_repeat17,31.bopx
| Test Time: |  |  | 2022-Feb-12 09:33(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 135
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_C6_repeat17,31 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 115.04 |  | 2.61 |  | 41,537 |  | <LM |  | N/A |  | 113.80 | 115.48
|  | 2 | 115.88 |  | 2.37 |  | 34,955 |  | <LM |  | N/A |  | 115.48 | 117.00
|  | 3 | 120.96 |  | 0.20 |  | 3,848 |  | <LM |  | N/A |  | 120.44 | 121.44
|  | 4 | 123.68 |  | 22.76 |  | 333,617 |  | 20 |  | N/A |  | 121.44 | 125.76
|  | 5 | 159.88 |  | 1.17 |  | 19,391 |  | 110 |  | 0.04 |  | 158.88 | 160.08
|  | 6 | 160.84 |  | 8.69 |  | 185,025 |  | 113 |  | 0.41 |  | 160.08 | 162.00
|  | 7 | 162.36 |  | 0.63 |  | 13,668 |  | 117 |  | 0.03 |  | 162.04 | 163.08
|  | 8 | 163.64 |  | 0.51 |  | 13,138 |  | 120 |  | 0.03 |  | 163.08 | 164.84
|  | 9 | 174.00 |  | 0.24 |  | 5,220 |  | 146 |  | 0.01 |  | 172.36 | 174.08
|  | 10 | 175.08 |  | 1.18 |  | 20,906 |  | 149 |  | 0.05 |  | 174.08 | 175.24
|  | 11 | 176.08 |  | 3.88 |  | 102,523 |  | 152 |  | 0.27 |  | 175.24 | 177.12
|  | 12 | 177.92 |  | 0.86 |  | 28,794 |  | 158 |  | 0.11 |  | 177.12 | 178.92
|  | 13 | 179.68 |  | 0.43 |  | 15,372 |  | 163 |  | 0.06 |  | 178.96 | 181.00
|  | 14 | 181.16 |  | 0.22 |  | 1,482 |  | 167 |  | <0.01 |  | 181.00 | 181.24
|  | 15 | 181.60 |  | 0.23 |  | 1,993 |  | 169 |  | <0.01 |  | 181.36 | 181.68
|  | 16 | 181.88 |  | 0.23 |  | 2,524 |  | 169 |  | <0.01 |  | 181.68 | 182.08
|  | 17 | 182.20 |  | 0.26 |  | 10,918 |  | 170 |  | 0.03 |  | 182.08 | 183.96
|  | 18 | 184.16 |  | 0.22 |  | 1,908 |  | 176 |  | <0.01 |  | 183.96 | 184.28
|  | 19 | 184.36 |  | 0.21 |  | 1,462 |  | 176 |  | <0.01 |  | 184.28 | 184.52
|  | 20 | 184.60 |  | 0.22 |  | 4,109 |  | 177 |  | <0.01 |  | 184.56 | 185.28
|  | 21 | 185.64 |  | 0.23 |  | 3,116 |  | 180 |  | <0.01 |  | 185.28 | 185.80
|  | 22 | 185.96 |  | 0.24 |  | 1,631 |  | 180 |  | <0.01 |  | 185.80 | 186.04
|  | 23 | 186.32 |  | 0.25 |  | 9,359 |  | 181 |  | 0.02 |  | 186.20 | 190.08
|  | 24 | 231.48 |  | 0.28 |  | 12,568 |  | 315 |  | 0.02 |  | 228.88 | 233.40
|  | 25 | 254.52 |  | 0.22 |  | 8,583 |  | 423 |  | 0.01 |  | 253.12 | 257.08
|  | 26 | 258.72 |  | 9.99 |  | 355,145 |  | 448 |  | 0.50 |  | 257.56 | 263.04
|  | 27 | 285.48 |  | 23.35 |  | 1,178,900 |  | 1,000 |  | N/A |  | 284.08 | 298.64
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2