## FolderReportMainPage
| Result: |  |  | 1110215HD clinical redo_HD_B4_repeat17,18_redo.bopx
| Test Time: |  |  | 2022-Feb-15 12:01(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 130
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_B4_repeat17,18_redo |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 53.48 |  | 0.25 |  | 12,915 |  | <LM |  | N/A |  | 51.84 | 55.84
|  | 2 | 60.88 |  | 0.25 |  | 15,343 |  | <LM |  | N/A |  | 58.88 | 63.80
|  | 3 | 114.64 |  | 2.62 |  | 41,176 |  | <LM |  | N/A |  | 113.32 | 115.04
|  | 4 | 115.44 |  | 2.44 |  | 36,710 |  | <LM |  | N/A |  | 115.04 | 116.56
|  | 5 | 123.44 |  | 23.23 |  | 335,435 |  | 20 |  | N/A |  | 121.12 | 125.44
|  | 6 | 160.76 |  | 8.31 |  | 186,903 |  | 117 |  | 0.40 |  | 158.80 | 161.36
|  | 7 | 161.84 |  | 6.66 |  | 160,912 |  | 120 |  | 0.34 |  | 161.36 | 162.84
|  | 8 | 163.48 |  | 3.60 |  | 83,418 |  | 124 |  | 0.17 |  | 162.84 | 164.12
|  | 9 | 164.68 |  | 3.29 |  | 85,928 |  | 127 |  | 0.18 |  | 164.12 | 166.00
|  | 10 | 166.32 |  | 0.55 |  | 14,883 |  | 131 |  | 0.03 |  | 166.00 | 167.96
|  | 11 | 176.44 |  | 0.22 |  | 9,087 |  | 159 |  | 0.03 |  | 173.76 | 176.60
|  | 12 | 177.12 |  | 0.22 |  | 3,451 |  | 161 |  | 0.01 |  | 176.60 | 177.20
|  | 13 | 177.32 |  | 0.22 |  | 1,495 |  | 162 |  | <0.01 |  | 177.20 | 177.44
|  | 14 | 177.56 |  | 0.22 |  | 1,277 |  | 163 |  | <0.01 |  | 177.44 | 177.64
|  | 15 | 177.80 |  | 0.21 |  | 1,447 |  | 163 |  | <0.01 |  | 177.68 | 177.92
|  | 16 | 178.24 |  | 0.19 |  | 8,813 |  | 164 |  | 0.03 |  | 177.92 | 180.12
|  | 17 | 237.04 |  | 0.23 |  | 12,198 |  | 349 |  | 0.02 |  | 234.72 | 239.40
|  | 18 | 256.72 |  | 11.97 |  | 434,293 |  | 454 |  | 0.58 |  | 255.44 | 262.36
|  | 19 | 273.16 |  | 0.20 |  | 7,306 |  | 643 |  | <0.01 |  | 271.44 | 273.40
|  | 20 | 274.68 |  | 0.28 |  | 8,874 |  | 691 |  | 0.01 |  | 273.40 | 274.80
|  | 21 | 274.92 |  | 0.27 |  | 3,987 |  | 698 |  | <0.01 |  | 274.84 | 275.44
|  | 22 | 275.56 |  | 0.21 |  | 6,091 |  | 720 |  | <0.01 |  | 275.44 | 277.64
|  | 23 | 282.52 |  | 23.27 |  | 1,155,599 |  | 1,000 |  | N/A |  | 281.20 | 289.92
|  | 24 | 290.04 |  | 0.34 |  | 3,375 |  | 1,405 |  | 0.02 |  | 289.92 | 290.28
|  | 25 | 290.56 |  | 0.35 |  | 2,377 |  | 1,446 |  | 0.01 |  | 290.44 | 290.68
|  | 26 | 290.84 |  | 0.34 |  | 5,583 |  | 1,469 |  | 0.04 |  | 290.68 | 291.32
|  | 27 | 291.44 |  | 0.31 |  | 10,302 |  | 1,519 |  | 0.08 |  | 291.32 | 292.88
|  | 28 | 292.96 |  | 0.22 |  | 36,737 |  | 1,653 |  | 0.44 |  | 292.88 | 309.48
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2