## 工作表1
20230605-08-SMA-test-rox-Auto
Sample Name | SMN1 (FAM) | SMN2 (VIC) | RNP (ROX) | Delta Ct (RNP-SMN1) | Delta Ct (RNP-SMN2) | SMN1 | SMN2 | SMN1:SMN2試算 |  |  |  | 答案 | SMN1 & SMN2(小炳) | SMN1(天花板概念)+SMN2(小炳) | SMN1(天花板概念)+SMN2(小炳) | SMN1 & SMN2(天花板概念) | SMN1 & SMN2(天花板概念)
SC1 | 23.13 | 23.01 | 24.28 | 1.15 | 1.27
SC2 | 20.68 | 20.93 | 23.31 | 2.63 | 2.38 | 1.48 | 1.11
SC3 |  |  |  | 4.11 | 3.49 |  |  | SMN1 & SMN2(小炳) | Model3 | SMN1(天花板概念)+SMN2(小炳) | SMN1 & SMN2(天花板概念) |  |  | Normal/Carrier比較 | SMN1:SMN2 copy比較 | Normal/Carrier比較 | SMN1:SMN2 copy比較 | SMN1 |  |  | SMN2
0605-1 | 19.38 | 19.33 | 21.61 | 2.23 | 2.28 |  |  | 2:2 | 2:2 | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.08 | 0.4 | 1.88 | 1.01 | 0.1 | 1.21
0605-2 | 20.12 | 20.75 | 22.27 | 2.15 | 1.52 |  |  | 2:1 | 2:1 | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1 | 0.48 | 1.96 | 0.25 | 0.86 | 1.97
0605-3 | 19.29 | 20.5 | 21.36 | 2.07 | 0.86 |  |  | 2:1 | 2:1 | 2:1 | 2:1 | 2:0 | v | v | x | v | x | 0.92 | 0.56 | 2.04 | 0.41 | 1.52 | 2.63
0605-4 | 18.8 | 20.19 | 20.9 | 2.1 | 0.71 |  |  | 2:1 | 2:2 | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 0.95 | 0.53 | 2.01 | 0.56 | 1.67 | 2.78
0605-5 | 21.85 | 21.28 | 23.81 | 1.96 | 2.53 |  |  | 2:2 | 1:2 | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 0.81 | 0.67 | 2.15 | 1.26 | 0.15 | 0.96
0605-6 | 20.8 | 21.04 | 22.36 | 1.56 | 1.32 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.41 | 1.07 | 2.55 | 0.05 | 1.06 | 2.17
0605-7 | 21.49 | 21.21 | 23.26 | 1.77 | 2.05 |  |  | 1:2 |  | 2:2 | 2:2 | 2:2 | x | v | v | v | v | 0.62 | 0.86 | 2.34 | 0.78 | 0.33 | 1.44
0606-1 | 23.83 | 24.75 | 25.55 | 1.72 | 0.8 |  |  | 1:1 |  | 2:1 | 2:1 | 2:2 | x | v | x | v | x | 0.57 | 0.91 | 2.39 | 0.47 | 1.58 | 2.69
0606-2 | 23.55 | 24.75 | 25.75 | 2.2 | 1 |  |  | 2:1 |  | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 1.05 | 0.43 | 1.91 | 0.27 | 1.38 | 2.49
0606-3 | 19.85 | 20.33 | 22.05 | 2.2 | 1.72 |  |  | 2:1 |  | 2:1 | 2:2 | 2:2 | v | v | x | v | v | 1.05 | 0.43 | 1.91 | 0.45 | 0.66 | 1.77
0606-4 | 19.98 | 19.23 | 21.59 | 1.61 | 2.36 |  |  | 1:2 |  | 2:2 | 2:2 | 2:2 | x | v | v | v | v | 0.46 | 1.02 | 2.5 | 1.09 | 0.02 | 1.13
0606-5 | 19.82 | 19.62 | 22.12 | 2.3 | 2.5 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.15 | 0.33 | 1.81 | 1.23 | 0.12 | 0.99
0606-6 | 21.24 | 22.31 | 23.76 | 2.52 | 1.45 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.37 | 0.11 | 1.59 | 0.18 | 0.93 | 2.04
0606-7 | 19.1 | 19.9 | 22.1 | 3 | 2.2 |  |  | 2:2 |  | 3:2 | 3:2 | 2:1 | v | v | x | v | x | 1.85 | 0.37 | 1.11 | 0.93 | 0.18 | 1.29
0606-8 | 21.53 | 21.15 | 22.7 | 1.17 | 1.55 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.02 | 1.46 | 2.94 | 0.28 | 0.83 | 1.94
0606-9 | 21.77 | 22.18 | 23.57 | 1.8 | 1.39 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.65 | 0.83 | 2.31 | 0.12 | 0.99 | 2.1
0606-10 | 19.22 | 20.23 | 22.19 | 2.97 | 1.96 |  |  | 2:2 |  | 3:2 | 3:2 | 2:1 | v | v | x | v | x | 1.82 | 0.34 | 1.14 | 0.69 | 0.42 | 1.53
0606-11 | 21 | 21.23 | 23.18 | 2.18 | 1.95 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.03 | 0.45 | 1.93 | 0.68 | 0.43 | 1.54
0606-12 | 20.03 | 20.78 | 22.69 | 2.66 | 1.91 |  |  | 2:2 |  | 3:2 | 3:2 | 2:2 | v | v | x | v | x | 1.51 | 0.03 | 1.45 | 0.64 | 0.47 | 1.58
0606-13 | 21.56 | 21.97 | 23.74 | 2.18 | 1.77 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.03 | 0.45 | 1.93 | 0.5 | 0.61 | 1.72
0606-14 | 19.94 | 21.06 | 22.47 | 2.53 | 1.41 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.38 | 0.1 | 1.58 | 0.14 | 0.97 | 2.08
0606-15 | 19.42 | 19.83 | 21.38 | 1.96 | 1.55 |  |  | 2:1 |  | 2:1 | 2:2 | 2:2 | v | v | x | v | v | 0.81 | 0.67 | 2.15 | 0.28 | 0.83 | 1.94
0606-16 | 20.49 | 21.14 | 23.12 | 2.63 | 1.98 |  |  | 2:2 |  | 2:2 | 2:2 | 3:1 | v | v | x | v | x | 1.48 | 3.5527e-15 | 1.48 | 0.71 | 0.4 | 1.51
0606-17 | 21.28 | 21.36 | 22.66 | 1.38 | 1.3 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.23 | 1.25 | 2.73 | 0.03 | 1.08 | 2.19
0606-18 | 19.64 | 19.46 | 22.1 | 2.46 | 2.64 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.31 | 0.17 | 1.65 | 1.37 | 0.26 | 0.85
0606-19 | 20.31 | 20.81 | 22.91 | 2.6 | 2.1 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.45 | 0.03 | 1.51 | 0.83 | 0.28 | 1.39
0606-20 | 19.88 | 20 | 22.63 | 2.75 | 2.63 |  |  | 2:2 |  | 3:2 | 3:3 | 2:2 | v | v | x | v | x | 1.6 | 0.12 | 1.36 | 1.36 | 0.25 | 0.86
0606-21 | 21.29 | 22.41 | 23.37 | 2.08 | 0.96 |  |  | 2:1 |  | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 0.93 | 0.55 | 2.03 | 0.31 | 1.42 | 2.53
0606-22 | 19.07 | 19.64 | 22.01 | 2.94 | 2.37 |  |  | 2:2 |  | 3:2 | 3:2 | 2:2 | v | v | x | v | x | 1.79 | 0.31 | 1.17 | 1.1 | 0.01 | 1.12
0606-23 | 22.94 | 22.94 | 24.89 | 1.95 | 1.95 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 0.8 | 0.68 | 2.16 | 0.68 | 0.43 | 1.54
0606-24 | 20.87 | 21.45 | 23.42 | 2.55 | 1.97 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.4 | 0.08 | 1.56 | 0.7 | 0.41 | 1.52
0606-25 | 21.8 | 22.33 | 23.8 | 2 | 1.47 |  |  | 2:1 |  | 2:1 | 2:2 | 2:2 | v | v | x | v | v | 0.85 | 0.63 | 2.11 | 0.2 | 0.91 | 2.02
0606-26 | 21.21 | 21.84 | 23.11 | 1.9 | 1.27 |  |  | 2:1 |  | 2:1 | 2:1 | 2:2 | v | v | x | v | x | 0.75 | 0.73 | 2.21 | 0 | 1.11 | 2.22
0607-1 | 20.83 | 21.98 | 23.58 | 2.75 | 1.6 |  |  | 2:1 |  | 3:1 | 3:2 | 2:1 | v | v | x | v | x | 1.6 | 0.12 | 1.36 | 0.33 | 0.78 | 1.89
0607-2 | 20.2 | 23.71 | 24.35 | 4.15 | 0.64 |  |  | 3:1 |  | 4:1 | 4:1 | 2:0 | v | v | x | v | x | 3 | 1.52 | 0.04 | 0.63 | 1.74 | 2.85
0607-3 | 21.08 | 22.37 | 24.01 | 2.93 | 1.64 |  |  | 2:1 |  | 3:1 | 3:2 | 2:1 | v | v | x | v | x | 1.78 | 0.3 | 1.18 | 0.37 | 0.74 | 1.85
0607-4 | 22.06 | 22.26 | 24.35 | 2.29 | 2.09 |  |  | 2:2 |  | 2:2 | 2:2 | 2:3 | v | v | x | v | x | 1.14 | 0.34 | 1.82 | 0.82 | 0.29 | 1.4
0607-5 | 22.02 | 25.27 | 24.63 | 2.61 | -0.64 |  |  | 2:1 |  | 2:1 | 2:1 | 2:0 | v | v | x | v | x | 1.46 | 0.02 | 1.5 | 1.91 | 3.02 | 4.13
0607-6 | 22.74 | 22.66 | 25.24 | 2.5 | 2.58 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.35 | 0.13 | 1.61 | 1.31 | 0.2 | 0.91
0607-7 | 20.19 | 21.09 | 23.17 | 2.98 | 2.08 |  |  | 2:2 |  | 3:2 | 3:2 | 2:2 | v | v | x | v | x | 1.83 | 0.35 | 1.13 | 0.81 | 0.3 | 1.41
0607-8 | 21.2 | 21.12 | 23.46 | 2.26 | 2.34 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.11 | 0.37 | 1.85 | 1.07 | 0.04 | 1.15
0607-9 | 20.73 | 21.44 | 23.05 | 2.32 | 1.61 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.17 | 0.31 | 1.79 | 0.34 | 0.77 | 1.88
0607-10 | 20.83 | 21.07 | 23.33 | 2.5 | 2.26 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.35 | 0.13 | 1.61 | 0.99 | 0.12 | 1.23
0607-11 | 21.05 | 21.32 | 23.61 | 2.56 | 2.29 |  |  | 2:2 |  | 2:2 | 2:2 | 2:1 | v | v | x | v | x | 1.41 | 0.07 | 1.55 | 1.02 | 0.09 | 1.2
0607-12 | 21.08 | 20.92 | 23.56 | 2.48 | 2.64 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.33 | 0.15 | 1.63 | 1.37 | 0.26 | 0.85
0607-13 | 20.73 | 22.78 | 23.54 | 2.81 | 0.76 |  |  | 2:1 |  | 3:1 | 3:1 | 2:1 | v | v | x | v | x | 1.66 | 0.18 | 1.3 | 0.51 | 1.62 | 2.73
0607-14 | 21.06 | 21.48 | 23.31 | 2.25 | 1.83 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.1 | 0.38 | 1.86 | 0.56 | 0.55 | 1.66
0607-15 | 20.57 | 21.48 | 22.83 | 2.26 | 1.35 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.11 | 0.37 | 1.85 | 0.08 | 1.03 | 2.14
0607-16 | 21.17 | 20.72 | 23.03 | 1.86 | 2.31 |  |  | 1:2 |  | 2:2 | 2:2 | 2:2 | x | v | v | v | v | 0.71 | 0.77 | 2.25 | 1.04 | 0.07 | 1.18
0607-17 | 20.87 | 20.12 | 22.6 | 1.73 | 2.48 |  |  | 1:2 |  | 2:2 | 2:3 | 2:2 | x | v | v | v | x | 0.58 | 0.9 | 2.38 | 1.21 | 0.1 | 1.01
0607-18 | 20.9 | 21.28 | 23.38 | 2.48 | 2.1 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 1.33 | 0.15 | 1.63 | 0.83 | 0.28 | 1.39
0607-19 | 21.35 | 21.02 | 23.21 | 1.86 | 2.19 |  |  | 1:2 |  | 2:2 | 2:2 | 2:2 | x | v | v | v | v | 0.71 | 0.77 | 2.25 | 0.92 | 0.19 | 1.3
0607-20 | 21.01 | 21.02 | 23.43 | 2.42 | 2.41 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.27 | 0.21 | 1.69 | 1.14 | 0.03 | 1.08
0607-21 | 20.68 | 22.3 | 22.83 | 2.15 | 0.53 |  |  | 2:1 |  | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 1 | 0.48 | 1.96 | 0.74 | 1.85 | 2.96
0607-22 | 20.73 | 20.95 | 22.48 | 1.75 | 1.53 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.6 | 0.88 | 2.36 | 0.26 | 0.85 | 1.96
0608-1 | 22.06 | 23.03 | 23.77 | 1.71 | 0.74 |  |  | 1:1 |  | 2:1 | 2:1 | 2:1 | x | v | v | v | v | 0.56 | 0.92 | 2.4 | 0.53 | 1.64 | 2.75
0608-2 | 20.28 | 20.91 | 22.35 | 2.07 | 1.44 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 0.92 | 0.56 | 2.04 | 0.17 | 0.94 | 2.05
0608-3 | 20.6 | 20.38 | 22.71 | 2.11 | 2.33 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 0.96 | 0.52 | 2 | 1.06 | 0.05 | 1.16
0608-4 | 20.54 | 20.57 | 23.41 | 2.87 | 2.84 |  |  | 2:2 |  | 3:2 | 3:3 | 2:2 | v | v | x | v | x | 1.72 | 0.24 | 1.24 | 1.57 | 0.46 | 0.65
0608-5 | 21.22 | 21.33 | 23.04 | 1.82 | 1.71 |  |  | 1:1 |  | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.67 | 0.81 | 2.29 | 0.44 | 0.67 | 1.78
0608-6 | 20.62 | 20.49 | 23.13 | 2.51 | 2.64 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.36 | 0.12 | 1.6 | 1.37 | 0.26 | 0.85
0608-7 | 19.84 | 20.05 | 22.24 | 2.4 | 2.19 |  |  | 2:2 |  | 2:2 | 2:2 | 2:1 | v | v | x | v | x | 1.25 | 0.23 | 1.71 | 0.92 | 0.19 | 1.3
0608-8 | 20.86 | 21.64 | 23.22 | 2.36 | 1.58 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 1.21 | 0.27 | 1.75 | 0.31 | 0.8 | 1.91
0608-9 | 19.69 | 20.09 | 22.18 | 2.49 | 2.09 |  |  | 2:2 |  | 2:2 | 2:2 | 2:1 | v | v | x | v | x | 1.34 | 0.14 | 1.62 | 0.82 | 0.29 | 1.4
0608-10 | 18.63 | 19.72 | 22.15 | 3.52 | 2.43 |  |  | 3:2 |  | 3:2 | 3:3 | 2:1 | v | v | x | v | x | 2.37 | 0.89 | 0.59 | 1.16 | 0.05 | 1.06
0608-11 | 20 | 19.57 | 21.96 | 1.96 | 2.39 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 0.81 | 0.67 | 2.15 | 1.12 | 0.01 | 1.1
0608-12 | 20.06 | 19.64 | 22.31 | 2.25 | 2.67 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 1.1 | 0.38 | 1.86 | 1.4 | 0.29 | 0.82
0608-13 | 20.2 | 21.89 | 23.14 | 2.94 | 1.25 |  |  | 2:1 |  | 3:1 | 3:1 | 2:0 | v | v | x | v | x | 1.79 | 0.31 | 1.17 | 0.02 | 1.13 | 2.24
0608-14 | 20.14 | 20.61 | 21.83 | 1.69 | 1.22 |  |  | 1:1 |  | 2:1 | 2:1 | 2:2 | x | v | x | v | x | 0.54 | 0.94 | 2.42 | 0.05 | 1.16 | 2.27
[13 empty] | 79.71% | 100% | 53.62% | 100% | 40.58%

## Results
Block Type
Calibration Background is expired
Calibration Background performed on
Calibration Pure Dye ABY is expired
Calibration Pure Dye ABY performed on
Calibration Pure Dye FAM is expired
Calibration Pure Dye FAM performed on
Calibration Pure Dye JUN is expired
Calibration Pure Dye JUN performed on
Calibration Pure Dye NED is expired
Calibration Pure Dye NED performed on
Calibration Pure Dye ROX is expired
Calibration Pure Dye ROX performed on
Calibration Pure Dye SYBR is expired
Calibration Pure Dye SYBR performed on
Calibration Pure Dye ROX is expired
Calibration Pure Dye TAMRA performed on
Calibration Pure Dye VIC is expired
Calibration Pure Dye VIC performed on
Calibration ROI is expired
Calibration ROI performed on
Calibration Uniformity is expired
Calibration Uniformity performed on
Chemistry
Date Created
Experiment Barcode
Experiment Comment
Experiment File Name
Experiment Name
Experiment Run End Time
Experiment Type
Instrument Name
Instrument Serial Number
Instrument Type
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method
Signal Smoothing On
Stage/ Cycle where Ct Analysis is performed
User Name
Well | Well Position | Sample Name | Target Name | Reporter | CT
1 | A1 | SC1 | SMN1 | FAM | 23.13
1 | A1 | SC1 | SMN2 | VIC | 23.01
1 | A1 | SC1 | RNP | ROX | 24.28
2 | A2 | SC2 | SMN1 | FAM | 20.68
2 | A2 | SC2 | SMN2 | VIC | 20.93
2 | A2 | SC2 | RNP | ROX | 23.31
3 | A3 | SC3 | SMN1 | FAM | 11
3 | A3 | SC3 | SMN2 | VIC | 11
3 | A3 | SC3 | RNP | ROX | 11
4 | A4 | 0605-1 | SMN1 | FAM | 19.38
4 | A4 | 0605-1 | SMN2 | VIC | 19.33
4 | A4 | 0605-1 | RNP | ROX | 21.61
5 | A5 | 0605-2 | SMN1 | FAM | 20.12
5 | A5 | 0605-2 | SMN2 | VIC | 20.75
5 | A5 | 0605-2 | RNP | ROX | 22.27
6 | A6 | 0605-3 | SMN1 | FAM | 19.29
6 | A6 | 0605-3 | SMN2 | VIC | 20.5
6 | A6 | 0605-3 | RNP | ROX | 21.36
7 | A7 | 0605-4 | SMN1 | FAM | 18.8
7 | A7 | 0605-4 | SMN2 | VIC | 20.19
7 | A7 | 0605-4 | RNP | ROX | 20.9
8 | A8 | 0605-5 | SMN1 | FAM | 21.85
8 | A8 | 0605-5 | SMN2 | VIC | 21.28
8 | A8 | 0605-5 | RNP | ROX | 23.81
9 | A9 | 0605-6 | SMN1 | FAM | 20.8
9 | A9 | 0605-6 | SMN2 | VIC | 21.04
9 | A9 | 0605-6 | RNP | ROX | 22.36
10 | A10 | 0605-7 | SMN1 | FAM | 21.49
10 | A10 | 0605-7 | SMN2 | VIC | 21.21
10 | A10 | 0605-7 | RNP | ROX | 23.26
11 | A11 | 0606-1 | SMN1 | FAM | 23.83
11 | A11 | 0606-1 | SMN2 | VIC | 24.75
11 | A11 | 0606-1 | RNP | ROX | 25.55
12 | A12 | 0606-2 | SMN1 | FAM | 23.55
12 | A12 | 0606-2 | SMN2 | VIC | 24.75
12 | A12 | 0606-2 | RNP | ROX | 25.75
13 | B1 | 0606-3 | SMN1 | FAM | 19.85
13 | B1 | 0606-3 | SMN2 | VIC | 20.33
13 | B1 | 0606-3 | RNP | ROX | 22.05
14 | B2 | 0606-4 | SMN1 | FAM | 19.98
14 | B2 | 0606-4 | SMN2 | VIC | 19.23
14 | B2 | 0606-4 | RNP | ROX | 21.59
15 | B3 | 0606-5 | SMN1 | FAM | 19.82
15 | B3 | 0606-5 | SMN2 | VIC | 19.62
15 | B3 | 0606-5 | RNP | ROX | 22.12
16 | B4 | 0606-6 | SMN1 | FAM | 21.24
16 | B4 | 0606-6 | SMN2 | VIC | 22.31
16 | B4 | 0606-6 | RNP | ROX | 23.76
17 | B5 | 0606-7 | SMN1 | FAM | 19.1
17 | B5 | 0606-7 | SMN2 | VIC | 19.9
17 | B5 | 0606-7 | RNP | ROX | 22.1
18 | B6 | 0606-8 | SMN1 | FAM | 21.53
18 | B6 | 0606-8 | SMN2 | VIC | 21.15
18 | B6 | 0606-8 | RNP | ROX | 22.7
19 | B7 | 0606-9 | SMN1 | FAM | 21.77
19 | B7 | 0606-9 | SMN2 | VIC | 22.18
19 | B7 | 0606-9 | RNP | ROX | 23.57
20 | B8 | 0606-10 | SMN1 | FAM | 19.22
20 | B8 | 0606-10 | SMN2 | VIC | 20.23
20 | B8 | 0606-10 | RNP | ROX | 22.19
21 | B9 | 0606-11 | SMN1 | FAM | 21
21 | B9 | 0606-11 | SMN2 | VIC | 21.23
21 | B9 | 0606-11 | RNP | ROX | 23.18
22 | B10 | 0606-12 | SMN1 | FAM | 20.03
22 | B10 | 0606-12 | SMN2 | VIC | 20.78
22 | B10 | 0606-12 | RNP | ROX | 22.69
23 | B11 | 0606-13 | SMN1 | FAM | 21.56
23 | B11 | 0606-13 | SMN2 | VIC | 21.97
23 | B11 | 0606-13 | RNP | ROX | 23.74
24 | B12 | 0606-14 | SMN1 | FAM | 19.94
24 | B12 | 0606-14 | SMN2 | VIC | 21.06
24 | B12 | 0606-14 | RNP | ROX | 22.47
25 | C1 | 0606-15 | SMN1 | FAM | 19.42
25 | C1 | 0606-15 | SMN2 | VIC | 19.83
25 | C1 | 0606-15 | RNP | ROX | 21.38
26 | C2 | 0606-16 | SMN1 | FAM | 20.49
26 | C2 | 0606-16 | SMN2 | VIC | 21.14
26 | C2 | 0606-16 | RNP | ROX | 23.12
27 | C3 | 0606-17 | SMN1 | FAM | 21.28
27 | C3 | 0606-17 | SMN2 | VIC | 21.36
27 | C3 | 0606-17 | RNP | ROX | 22.66
28 | C4 | 0606-18 | SMN1 | FAM | 19.64
28 | C4 | 0606-18 | SMN2 | VIC | 19.46
28 | C4 | 0606-18 | RNP | ROX | 22.1
29 | C5 | 0606-19 | SMN1 | FAM | 20.31
29 | C5 | 0606-19 | SMN2 | VIC | 20.81
29 | C5 | 0606-19 | RNP | ROX | 22.91
30 | C6 | 0606-20 | SMN1 | FAM | 19.88
30 | C6 | 0606-20 | SMN2 | VIC | 20
30 | C6 | 0606-20 | RNP | ROX | 22.63
31 | C7 | 0606-21 | SMN1 | FAM | 21.29
31 | C7 | 0606-21 | SMN2 | VIC | 22.41
31 | C7 | 0606-21 | RNP | ROX | 23.37
32 | C8 | 0606-22 | SMN1 | FAM | 19.07
32 | C8 | 0606-22 | SMN2 | VIC | 19.64
32 | C8 | 0606-22 | RNP | ROX | 22.01
33 | C9 | 0606-23 | SMN1 | FAM | 22.94
33 | C9 | 0606-23 | SMN2 | VIC | 22.94
33 | C9 | 0606-23 | RNP | ROX | 24.89
34 | C10 | 0606-24 | SMN1 | FAM | 20.87
34 | C10 | 0606-24 | SMN2 | VIC | 21.45
34 | C10 | 0606-24 | RNP | ROX | 23.42
35 | C11 | 0606-25 | SMN1 | FAM | 21.8
35 | C11 | 0606-25 | SMN2 | VIC | 22.33
35 | C11 | 0606-25 | RNP | ROX | 23.8
36 | C12 | 0606-26 | SMN1 | FAM | 21.21
36 | C12 | 0606-26 | SMN2 | VIC | 21.84
36 | C12 | 0606-26 | RNP | ROX | 23.11
37 | D1 | 0607-1 | SMN1 | FAM | 20.83
37 | D1 | 0607-1 | SMN2 | VIC | 21.98
37 | D1 | 0607-1 | RNP | ROX | 23.58
38 | D2 | 0607-2 | SMN1 | FAM | 20.2
38 | D2 | 0607-2 | SMN2 | VIC | 23.71
38 | D2 | 0607-2 | RNP | ROX | 24.35
39 | D3 | 0607-3 | SMN1 | FAM | 21.08
39 | D3 | 0607-3 | SMN2 | VIC | 22.37
39 | D3 | 0607-3 | RNP | ROX | 24.01
40 | D4 | 0607-4 | SMN1 | FAM | 22.06
40 | D4 | 0607-4 | SMN2 | VIC | 22.26
40 | D4 | 0607-4 | RNP | ROX | 24.35
41 | D5 | 0607-5 | SMN1 | FAM | 22.02
41 | D5 | 0607-5 | SMN2 | VIC | 25.27
41 | D5 | 0607-5 | RNP | ROX | 24.63
42 | D6 | 0607-6 | SMN1 | FAM | 22.74
42 | D6 | 0607-6 | SMN2 | VIC | 22.66
42 | D6 | 0607-6 | RNP | ROX | 25.24
43 | D7 | 0607-7 | SMN1 | FAM | 20.19
43 | D7 | 0607-7 | SMN2 | VIC | 21.09
43 | D7 | 0607-7 | RNP | ROX | 23.17
44 | D8 | 0607-8 | SMN1 | FAM | 21.2
44 | D8 | 0607-8 | SMN2 | VIC | 21.12
44 | D8 | 0607-8 | RNP | ROX | 23.46
45 | D9 | 0607-9 | SMN1 | FAM | 20.73
45 | D9 | 0607-9 | SMN2 | VIC | 21.44
45 | D9 | 0607-9 | RNP | ROX | 23.05
46 | D10 | 0607-10 | SMN1 | FAM | 20.83
46 | D10 | 0607-10 | SMN2 | VIC | 21.07
46 | D10 | 0607-10 | RNP | ROX | 23.33
47 | D11 | 0607-11 | SMN1 | FAM | 21.05
47 | D11 | 0607-11 | SMN2 | VIC | 21.32
47 | D11 | 0607-11 | RNP | ROX | 23.61
48 | D12 | 0607-12 | SMN1 | FAM | 21.08
48 | D12 | 0607-12 | SMN2 | VIC | 20.92
48 | D12 | 0607-12 | RNP | ROX | 23.56
49 | E1 | 0607-13 | SMN1 | FAM | 20.73
49 | E1 | 0607-13 | SMN2 | VIC | 22.78
49 | E1 | 0607-13 | RNP | ROX | 23.54
50 | E2 | 0607-14 | SMN1 | FAM | 21.06
50 | E2 | 0607-14 | SMN2 | VIC | 21.48
50 | E2 | 0607-14 | RNP | ROX | 23.31
51 | E3 | 0607-15 | SMN1 | FAM | 20.57
51 | E3 | 0607-15 | SMN2 | VIC | 21.48
51 | E3 | 0607-15 | RNP | ROX | 22.83
52 | E4 | 0607-16 | SMN1 | FAM | 21.17
52 | E4 | 0607-16 | SMN2 | VIC | 20.72
52 | E4 | 0607-16 | RNP | ROX | 23.03
53 | E5 | 0607-17 | SMN1 | FAM | 20.87
53 | E5 | 0607-17 | SMN2 | VIC | 20.12
53 | E5 | 0607-17 | RNP | ROX | 22.6
54 | E6 | 0607-18 | SMN1 | FAM | 20.9
54 | E6 | 0607-18 | SMN2 | VIC | 21.28
54 | E6 | 0607-18 | RNP | ROX | 23.38
55 | E7 | 0607-19 | SMN1 | FAM | 21.35
55 | E7 | 0607-19 | SMN2 | VIC | 21.02
55 | E7 | 0607-19 | RNP | ROX | 23.21
56 | E8 | 0607-20 | SMN1 | FAM | 21.01
56 | E8 | 0607-20 | SMN2 | VIC | 21.02
56 | E8 | 0607-20 | RNP | ROX | 23.43
57 | E9 | 0607-21 | SMN1 | FAM | 20.68
57 | E9 | 0607-21 | SMN2 | VIC | 22.3
57 | E9 | 0607-21 | RNP | ROX | 22.83
58 | E10 | 0607-22 | SMN1 | FAM | 20.73
58 | E10 | 0607-22 | SMN2 | VIC | 20.95
58 | E10 | 0607-22 | RNP | ROX | 22.48
59 | E11 | 0608-1 | SMN1 | FAM | 22.06
59 | E11 | 0608-1 | SMN2 | VIC | 23.03
59 | E11 | 0608-1 | RNP | ROX | 23.77
60 | E12 | 0608-2 | SMN1 | FAM | 20.28
60 | E12 | 0608-2 | SMN2 | VIC | 20.91
60 | E12 | 0608-2 | RNP | ROX | 22.35
61 | F1 | 0608-3 | SMN1 | FAM | 20.6
61 | F1 | 0608-3 | SMN2 | VIC | 20.38
61 | F1 | 0608-3 | RNP | ROX | 22.71
62 | F2 | 0608-4 | SMN1 | FAM | 20.54
62 | F2 | 0608-4 | SMN2 | VIC | 20.57
62 | F2 | 0608-4 | RNP | ROX | 23.41
63 | F3 | 0608-5 | SMN1 | FAM | 21.22
63 | F3 | 0608-5 | SMN2 | VIC | 21.33
63 | F3 | 0608-5 | RNP | ROX | 23.04
64 | F4 | 0608-6 | SMN1 | FAM | 20.62
64 | F4 | 0608-6 | SMN2 | VIC | 20.49
64 | F4 | 0608-6 | RNP | ROX | 23.13
65 | F5 | 0608-7 | SMN1 | FAM | 19.84
65 | F5 | 0608-7 | SMN2 | VIC | 20.05
65 | F5 | 0608-7 | RNP | ROX | 22.24
66 | F6 | 0608-8 | SMN1 | FAM | 20.86
66 | F6 | 0608-8 | SMN2 | VIC | 21.64
66 | F6 | 0608-8 | RNP | ROX | 23.22
67 | F7 | 0608-9 | SMN1 | FAM | 19.69
67 | F7 | 0608-9 | SMN2 | VIC | 20.09
67 | F7 | 0608-9 | RNP | ROX | 22.18
68 | F8 | 0608-10 | SMN1 | FAM | 18.63
68 | F8 | 0608-10 | SMN2 | VIC | 19.72
68 | F8 | 0608-10 | RNP | ROX | 22.15
69 | F9 | 0608-11 | SMN1 | FAM | 20
69 | F9 | 0608-11 | SMN2 | VIC | 19.57
69 | F9 | 0608-11 | RNP | ROX | 21.96
70 | F10 | 0608-12 | SMN1 | FAM | 20.06
70 | F10 | 0608-12 | SMN2 | VIC | 19.64
70 | F10 | 0608-12 | RNP | ROX | 22.31
71 | F11 | 0608-13 | SMN1 | FAM | 20.2
71 | F11 | 0608-13 | SMN2 | VIC | 21.89
71 | F11 | 0608-13 | RNP | ROX | 23.14
72 | F12 | 0608-14 | SMN1 | FAM | 20.14
72 | F12 | 0608-14 | SMN2 | VIC | 20.61
72 | F12 | 0608-14 | RNP | ROX | 21.83
72 | G1 | NTC | SMN1 | FAM | Undetermined
72 | G1 | NTC | SMN2 | VIC | Undetermined
72 | G1 | NTC | RNP | ROX | Undetermined