## 工作表1
20230612-13-SMA-test-rox-Auto
Sample Name | SMN1 (FAM) | SMN2 (VIC) | RNP (ROX) | Delta Ct (RNP-SMN1) | Delta Ct (RNP-SMN2) | SMN1 | SMN2 | SMN1:SMN2試算 |  |  |  | 答案 | SMN1 & SMN2(小炳) | SMN1(天花板概念)+SMN2(小炳) | SMN1(天花板概念)+SMN2(小炳) | SMN1 & SMN2(天花板概念) | SMN1 & SMN2(天花板概念)
SC1 | 22.51 | 23.38 | 24.53 | 2.02 | 1.15
SC2 | 21.17 | 22.28 | 24.19 | 3.02 | 1.91 | 1 | 0.76
SC3 |  |  |  | 4.02 | 2.67 |  |  | SMN1 & SMN2(小炳) | Model3 | SMN1(天花板概念)+SMN2(小炳) | SMN1 & SMN2(天花板概念) |  |  | Normal/Carrier比較 | SMN1:SMN2 copy比較 | Normal/Carrier比較 | SMN1:SMN2 copy比較 | SMN1 |  |  | SMN2
0612-1 | 20.77 | 21.24 | 23.2 | 2.43 | 1.96 |  |  | 1:2 | 2:2 | 2:2 | 2:3 | 2:2 | x | v | v | v | x | 0.41 | 0.59 | 1.59 | 0.81 | 0.05 | 0.71
0612-2 | 20.24 | 21.65 | 23.26 | 3.02 | 1.61 |  |  | 2:2 | 2:2 | 3:2 | 3:2 | 3:1 | v | v | x | v | x | 1 | 3.5527e-15 | 1 | 0.46 | 0.3 | 1.06
0612-3 | 21.32 | 23.42 | 24.2 | 2.88 | 0.78 |  |  | 2:1 | 2:2 | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 0.86 | 0.14 | 1.14 | 0.37 | 1.13 | 1.89
0612-4 | 21.18 | 22.24 | 23.63 | 2.45 | 1.39 |  |  | 1:1 | 2:2 | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.43 | 0.57 | 1.57 | 0.24 | 0.52 | 1.28
0612-5 | 20 | 21.22 | 22.72 | 2.72 | 1.5 |  |  | 2:1 | 2:2 | 2:1 | 2:2 | 2:2 | v | v | x | v | v | 0.7 | 0.3 | 1.3 | 0.35 | 0.41 | 1.17
0612-6 | 20.48 | 21.38 | 22.85 | 2.37 | 1.47 |  |  | 1:1 | 2:2 | 2:1 | 2:2 | 2:2 | x | v | x | v | v | 0.35 | 0.65 | 1.65 | 0.32 | 0.44 | 1.2
0612-7 | 22.17 | 23.47 | 23.6 | 1.43 | 0.13 |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 2:1 | x | x | x | x | x | 0.59 | 1.59 | 2.59 | 1.02 | 1.78 | 2.54
0612-8 | 21.94 | 22.66 | 24.43 | 2.49 | 1.77 |  |  | 1:2 | 2:1 | 2:2 | 2:2 | 2:2 | x | v | v | v | v | 0.47 | 0.53 | 1.53 | 0.62 | 0.14 | 0.9
0612-9 | 20.96 | 22.74 | 24.09 | 3.13 | 1.35 |  |  | 2:1 |  | 3:1 | 3:2 | 2:0 | v | v | x | v | x | 1.11 | 0.11 | 0.89 | 0.2 | 0.56 | 1.32
0612-10 | 21.67 | 22.35 | 24.4 | 2.73 | 2.05 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 0.71 | 0.29 | 1.29 | 0.9 | 0.14 | 0.62
0613-1 | 20.88 | 21.91 | 23.51 | 2.63 | 1.6 |  |  | 2:2 |  | 2:2 | 2:2 | 2:2 | v | v | v | v | v | 0.61 | 0.39 | 1.39 | 0.45 | 0.31 | 1.07
0613-2 | 25.37 | 26.12 | 26.75 | 1.38 | 0.63 |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 2:2 | x | x | x | x | x | 0.64 | 1.64 | 2.64 | 0.52 | 1.28 | 2.04
0613-3 | 24.88 | 24.48 | 26.62 | 1.74 | 2.14 |  |  | 1:2 | 1:1 | 1:2 | 1:3 | 2:2 | x | x | x | x | x | 0.28 | 1.28 | 2.28 | 0.99 | 0.23 | 0.53
0613-4 | 22.35 | 26.08 | 24.93 | 2.58 | -1.15 |  |  | 2:1 | 1:1 | 2:1 | 2:1 | 2:0 | v | v | x | v | x | 0.56 | 0.44 | 1.44 | 2.3 | 3.06 | 3.82
0613-5 | 23.01 | 25.79 | 25.64 | 2.63 | -0.15 |  |  | 2:1 | 1:1 | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 0.61 | 0.39 | 1.39 | 1.3 | 2.06 | 2.82
0613-6 | 21.71 | 25.34 | 24.95 | 3.24 | -0.39 |  |  | 2:1 |  | 3:1 | 3:1 | 2:0 | v | v | x | v | x | 1.22 | 0.22 | 0.78 | 1.54 | 2.3 | 3.06
0613-7 | 21.58 | 22.42 | 24.02 | 2.44 | 1.6 |  |  | 1:2 |  | 2:2 | 2:2 | 2:1 | v | v | x | v | x | 0.42 | 0.58 | 1.58 | 0.45 | 0.31 | 1.07
0613-8 | 21.99 | 23.64 | 25.53 | 3.54 | 1.89 |  |  | 2:2 |  | 3:2 | 3:2 | 2:1 | v | v | x | v | x | 1.52 | 0.52 | 0.48 | 0.74 | 0.02 | 0.78
0613-9 | 21.59 | 22.1 | 24.27 | 2.68 | 2.17 |  |  | 2:2 |  | 2:2 | 2:3 | 2:2 | v | v | v | v | x | 0.66 | 0.34 | 1.34 | 1.02 | 0.26 | 0.5
0613-10 | 21.57 | 22.9 | 25.16 | 3.59 | 2.26 |  |  | 2:2 |  | 3:2 | 3:3 | 2:2 | v | v | x | v | x | 1.57 | 0.57 | 0.43 | 1.11 | 0.35 | 0.41
0613-11 | 22.22 | 23.17 | 24.7 | 2.48 | 1.53 |  |  | 1:2 | 1:1 | 2:2 | 2:2 | 2:1 | x | v | x | v | x | 0.46 | 0.54 | 1.54 | 0.38 | 0.38 | 1.14
0613-12 | 20.76 | 22.41 | 23.36 | 2.6 | 0.95 |  |  | 2:1 |  | 2:1 | 2:1 | 2:1 | v | v | v | v | v | 0.58 | 0.42 | 1.42 | 0.2 | 0.96 | 1.72
0613-13 | 23.04 | 23.7 | 24.72 | 1.68 | 1.02 |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 2:2 | x | x | x | x | x | 0.34 | 1.34 | 2.34 | 0.13 | 0.89 | 1.65
0613-14 | 21.14 | 22.16 | 23.18 | 2.04 | 1.02 |  |  | 1:1 |  | 2:1 | 2:1 | 2:2 | x | v | x | v | x | 0.02 | 0.98 | 1.98 | 0.13 | 0.89 | 1.65
0613-15 | 20.9 | 22.04 | 23.68 | 2.78 | 1.64 |  |  | 2:2 |  | 2:2 | 2:2 | 2:1 | v | v | x | v | x | 0.76 | 0.24 | 1.24 | 0.49 | 0.27 | 1.03
0613-17 | 21.79 | 23.17 | 24.52 | 2.73 | 1.35 |  |  | 2:1 |  | 2:1 | 2:2 | 2:1 | v | v | v | v | x | 0.71 | 0.29 | 1.29 | 0.2 | 0.56 | 1.32
0603-11 | 23.72 | 22.49 | 24.33 | 0.61 | 1.84 |  |  | 1:2 | 1:1 | 1:2 | 1:2 | 1:2 | v | v | v | v | v | 1.41 | 2.41 | 3.41 | 0.69 | 0.07 | 0.83
[13 empty] | 62.96% | 85.19% | 37.04% | 85.19% | 33.33%

## Results
Block Type
Calibration Background is expired
Calibration Background performed on
Calibration Pure Dye ABY is expired
Calibration Pure Dye ABY performed on
Calibration Pure Dye FAM is expired
Calibration Pure Dye FAM performed on
Calibration Pure Dye JUN is expired
Calibration Pure Dye JUN performed on
Calibration Pure Dye NED is expired
Calibration Pure Dye NED performed on
Calibration Pure Dye ROX is expired
Calibration Pure Dye ROX performed on
Calibration Pure Dye SYBR is expired
Calibration Pure Dye SYBR performed on
Calibration Pure Dye ROX is expired
Calibration Pure Dye TAMRA performed on
Calibration Pure Dye VIC is expired
Calibration Pure Dye VIC performed on
Calibration ROI is expired
Calibration ROI performed on
Calibration Uniformity is expired
Calibration Uniformity performed on
Chemistry
Date Created
Experiment Barcode
Experiment Comment
Experiment File Name
Experiment Name
Experiment Run End Time
Experiment Type
Instrument Name
Instrument Serial Number
Instrument Type
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method
Signal Smoothing On
Stage/ Cycle where Ct Analysis is performed
User Name
Well | Well Position | Sample Name | Target Name | Reporter | CT
1 | A1 | SC1 | SMN1 | FAM | 22.51
1 | A1 | SC1 | SMN2 | VIC | 23.38
1 | A1 | SC1 | RNP | ROX | 24.53
2 | A2 | SC2 | SMN1 | FAM | 21.17
2 | A2 | SC2 | SMN2 | VIC | 22.28
2 | A2 | SC2 | RNP | ROX | 24.19
3 | A3 | SC3 | SMN1 | FAM | 11
3 | A3 | SC3 | SMN2 | VIC | 11
3 | A3 | SC3 | RNP | ROX | 11
4 | A4 | 0612-1 | SMN1 | FAM | 20.77
4 | A4 | 0612-1 | SMN2 | VIC | 21.24
4 | A4 | 0612-1 | RNP | ROX | 23.2
5 | A5 | 0612-2 | SMN1 | FAM | 20.24
5 | A5 | 0612-2 | SMN2 | VIC | 21.65
5 | A5 | 0612-2 | RNP | ROX | 23.26
6 | A6 | 0612-3 | SMN1 | FAM | 21.32
6 | A6 | 0612-3 | SMN2 | VIC | 23.42
6 | A6 | 0612-3 | RNP | ROX | 24.2
7 | A7 | 0612-4 | SMN1 | FAM | 21.18
7 | A7 | 0612-4 | SMN2 | VIC | 22.24
7 | A7 | 0612-4 | RNP | ROX | 23.63
8 | A8 | 0612-5 | SMN1 | FAM | 20
8 | A8 | 0612-5 | SMN2 | VIC | 21.22
8 | A8 | 0612-5 | RNP | ROX | 22.72
9 | A9 | 0612-6 | SMN1 | FAM | 20.48
9 | A9 | 0612-6 | SMN2 | VIC | 21.38
9 | A9 | 0612-6 | RNP | ROX | 22.85
10 | A10 | 0612-7 | SMN1 | FAM | 22.17
10 | A10 | 0612-7 | SMN2 | VIC | 23.47
10 | A10 | 0612-7 | RNP | ROX | 23.6
11 | A11 | 0612-8 | SMN1 | FAM | 21.94
11 | A11 | 0612-8 | SMN2 | VIC | 22.66
11 | A11 | 0612-8 | RNP | ROX | 24.43
12 | A12 | 0612-9 | SMN1 | FAM | 20.96
12 | A12 | 0612-9 | SMN2 | VIC | 22.74
12 | A12 | 0612-9 | RNP | ROX | 24.09
13 | B1 | 0612-10 | SMN1 | FAM | 21.67
13 | B1 | 0612-10 | SMN2 | VIC | 22.35
13 | B1 | 0612-10 | RNP | ROX | 24.4
14 | B2 | 0613-1 | SMN1 | FAM | 20.88
14 | B2 | 0613-1 | SMN2 | VIC | 21.91
14 | B2 | 0613-1 | RNP | ROX | 23.51
15 | B3 | 0613-2 | SMN1 | FAM | 25.37
15 | B3 | 0613-2 | SMN2 | VIC | 26.12
15 | B3 | 0613-2 | RNP | ROX | 26.75
16 | B4 | 0613-3 | SMN1 | FAM | 24.88
16 | B4 | 0613-3 | SMN2 | VIC | 24.48
16 | B4 | 0613-3 | RNP | ROX | 26.62
17 | B5 | 0613-4 | SMN1 | FAM | 22.35
17 | B5 | 0613-4 | SMN2 | VIC | 26.08
17 | B5 | 0613-4 | RNP | ROX | 24.93
18 | B6 | 0613-5 | SMN1 | FAM | 23.01
18 | B6 | 0613-5 | SMN2 | VIC | 25.79
18 | B6 | 0613-5 | RNP | ROX | 25.64
19 | B7 | 0613-6 | SMN1 | FAM | 21.71
19 | B7 | 0613-6 | SMN2 | VIC | 25.34
19 | B7 | 0613-6 | RNP | ROX | 24.95
20 | B8 | 0613-7 | SMN1 | FAM | 21.58
20 | B8 | 0613-7 | SMN2 | VIC | 22.42
20 | B8 | 0613-7 | RNP | ROX | 24.02
21 | B9 | 0613-8 | SMN1 | FAM | 21.99
21 | B9 | 0613-8 | SMN2 | VIC | 23.64
21 | B9 | 0613-8 | RNP | ROX | 25.53
22 | B10 | 0613-9 | SMN1 | FAM | 21.59
22 | B10 | 0613-9 | SMN2 | VIC | 22.1
22 | B10 | 0613-9 | RNP | ROX | 24.27
23 | B11 | 0613-10 | SMN1 | FAM | 21.57
23 | B11 | 0613-10 | SMN2 | VIC | 22.9
23 | B11 | 0613-10 | RNP | ROX | 25.16
24 | B12 | 0613-11 | SMN1 | FAM | 22.22
24 | B12 | 0613-11 | SMN2 | VIC | 23.17
24 | B12 | 0613-11 | RNP | ROX | 24.7
25 | C1 | 0613-12 | SMN1 | FAM | 20.76
25 | C1 | 0613-12 | SMN2 | VIC | 22.41
25 | C1 | 0613-12 | RNP | ROX | 23.36
26 | C2 | 0613-13 | SMN1 | FAM | 23.04
26 | C2 | 0613-13 | SMN2 | VIC | 23.7
26 | C2 | 0613-13 | RNP | ROX | 24.72
27 | C3 | 0613-14 | SMN1 | FAM | 21.14
27 | C3 | 0613-14 | SMN2 | VIC | 22.16
27 | C3 | 0613-14 | RNP | ROX | 23.18
28 | C4 | 0613-15 | SMN1 | FAM | 20.9
28 | C4 | 0613-15 | SMN2 | VIC | 22.04
28 | C4 | 0613-15 | RNP | ROX | 23.68
29 | C5 | 0613-17 | SMN1 | FAM | 21.79
29 | C5 | 0613-17 | SMN2 | VIC | 23.17
29 | C5 | 0613-17 | RNP | ROX | 24.52
30 | C6 | 0603-11 | SMN1 | FAM | 23.72
30 | C6 | 0603-11 | SMN2 | VIC | 22.49
30 | C6 | 0603-11 | RNP | ROX | 24.33
31 | C7 | NTC | SMN1 | FAM | Undetermined
31 | C7 | NTC | SMN2 | VIC | Undetermined
31 | C7 | NYC | RNP | ROX | Undetermined