## FolderReportMainPage
| Result: |  |  | FX-SC_S1A12_R1.bopx
| Test Time: |  |  | 2022-Oct-28 15:13(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 145
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 53.08 |  | 0.18 |  | 9,416 |  | <LM |  | N/A |  | 51.08 | 53.56
|  | 2 | 53.96 |  | 0.19 |  | 2,526 |  | <LM |  | N/A |  | 53.64 | 54.16
|  | 3 | 54.32 |  | 0.18 |  | 1,433 |  | <LM |  | N/A |  | 54.20 | 54.60
|  | 4 | 92.72 |  | 0.91 |  | 12,781 |  | <LM |  | N/A |  | 91.96 | 93.20
|  | 5 | 96.64 |  | 19.97 |  | 271,020 |  | 20 |  | N/A |  | 93.48 | 98.32
|  | 6 | 176.04 |  | 15.19 |  | 401,279 |  | 336 |  | 1.02 |  | 174.40 | 179.72
|  | 7 | 186.24 |  | 4.74 |  | 118,498 |  | 396 |  | 0.28 |  | 185.20 | 188.44
|  | 8 | 190.56 |  | 0.77 |  | 18,677 |  | 433 |  | 0.04 |  | 189.04 | 190.80
|  | 9 | 191.04 |  | 0.77 |  | 18,622 |  | 437 |  | 0.04 |  | 190.80 | 192.60
|  | 10 | 196.80 |  | 6.11 |  | 175,605 |  | 493 |  | 0.43 |  | 195.48 | 200.72
|  | 12 | 232.56 |  | 16.12 |  | 1,291,460 |  | 5,000 |  | N/A |  | 231.40 | 250.48
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2