## FolderReportMainPage
| Result: |  |  | FX_S2A07_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:26(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 137
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 89.52 |  | 1.90 |  | 43,606 |  | <LM |  | N/A |  | 88.56 | 90.40
|  | 2 | 90.52 |  | 0.45 |  | 3,097 |  | <LM |  | N/A |  | 90.40 | 90.64
|  | 3 | 91.20 |  | 1.36 |  | 21,137 |  | <LM |  | N/A |  | 90.64 | 91.68
|  | 4 | 92.68 |  | 1.31 |  | 26,684 |  | <LM |  | N/A |  | 91.68 | 92.80
|  | 5 | 93.72 |  | 20.67 |  | 258,222 |  | 20 |  | N/A |  | 92.80 | 94.36
|  | 6 | 94.52 |  | 1.54 |  | 19,857 |  | 22 |  | 0.08 |  | 94.40 | 94.92
|  | 7 | 95.08 |  | 1.29 |  | 33,763 |  | 24 |  | 0.12 |  | 94.92 | 97.12
|  | 8 | 136.28 |  | 2.56 |  | 77,215 |  | 167 |  | 0.24 |  | 135.24 | 139.48
|  | 9 | 174.48 |  | 11.07 |  | 522,050 |  | 330 |  | 1.29 |  | 171.88 | 177.44
|  | 10 | 177.60 |  | 0.73 |  | 31,268 |  | 348 |  | 0.08 |  | 177.44 | 179.96
|  | 11 | 181.44 |  | 0.46 |  | 25,066 |  | 371 |  | 0.06 |  | 179.96 | 183.80
|  | 12 | 233.72 |  | 12.63 |  | 894,466 |  | 5,000 |  | N/A |  | 232.68 | 239.52
|  | 13 | 241.32 |  | 1.47 |  | 77,001 |  | > 5k |  | N/A |  | 239.56 | 241.80
|  | 14 | 241.88 |  | 1.43 |  | 169,303 |  | > 5k |  | N/A |  | 241.80 | 256.44
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2