## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample17_repeat30,30.bopx
| Test Time: |  |  | 2021-Nov-19 09:36(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 184
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample17_repeat30,30 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 109.08 |  | 2.19 |  | 60,402 |  | <LM |  | N/A |  | 107.88 | 110.28
|  | 2 | 110.80 |  | 2.06 |  | 43,799 |  | <LM |  | N/A |  | 110.32 | 112.16
|  | 3 | 112.84 |  | 1.04 |  | 22,137 |  | <LM |  | N/A |  | 112.16 | 113.28
|  | 4 | 115.16 |  | 19.52 |  | 288,014 |  | 20 |  | N/A |  | 113.28 | 115.92
|  | 5 | 116.12 |  | 1.38 |  | 24,107 |  | 22 |  | 0.12 |  | 115.92 | 116.68
|  | 6 | 118.52 |  | 2.92 |  | 120,984 |  | 28 |  | 0.45 |  | 116.68 | 120.00
|  | 7 | 165.40 |  | 5.45 |  | 126,558 |  | 163 |  | 0.47 |  | 164.24 | 166.68
|  | 8 | 166.72 |  | 0.36 |  | 12,534 |  | 167 |  | 0.05 |  | 166.68 | 169.52
|  | 9 | 211.60 |  | 21.33 |  | 753,578 |  | 323 |  | 2.25 |  | 208.48 | 214.16
|  | 10 | 214.84 |  | 0.65 |  | 27,929 |  | 339 |  | 0.08 |  | 214.20 | 216.80
|  | 11 | 218.72 |  | 0.42 |  | 24,345 |  | 358 |  | 0.07 |  | 216.84 | 221.36
|  | 12 | 286.12 |  | 10.00 |  | 822,653 |  | 5,000 |  | N/A |  | 284.64 | 292.68
|  | 13 | 295.16 |  | 1.48 |  | 257,506 |  | > 5k |  | N/A |  | 292.68 | 306.56
|  | 14 | 306.68 |  | 0.25 |  | 12,577 |  | > 5k |  | N/A |  | 306.60 | 310.04
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2