## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample6_repeat29,46.bopx
| Test Time: |  |  | 2021-Nov-19 09:28(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 185
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample6_repeat29,46 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 110.00 |  | 2.22 |  | 61,759 |  | <LM |  | N/A |  | 108.64 | 111.20
|  | 2 | 111.72 |  | 2.08 |  | 43,013 |  | <LM |  | N/A |  | 111.20 | 113.00
|  | 3 | 113.84 |  | 1.00 |  | 22,699 |  | <LM |  | N/A |  | 113.00 | 114.28
|  | 4 | 116.20 |  | 19.00 |  | 281,333 |  | 20 |  | N/A |  | 114.28 | 116.96
|  | 5 | 117.20 |  | 1.33 |  | 23,840 |  | 22 |  | 0.11 |  | 116.96 | 117.76
|  | 6 | 119.68 |  | 2.88 |  | 121,986 |  | 28 |  | 0.45 |  | 117.76 | 121.20
|  | 7 | 166.84 |  | 4.83 |  | 121,642 |  | 163 |  | 0.45 |  | 165.76 | 170.08
|  | 8 | 212.96 |  | 10.01 |  | 345,563 |  | 322 |  | 1.03 |  | 210.08 | 215.32
|  | 9 | 222.40 |  | 7.06 |  | 278,037 |  | 367 |  | 0.78 |  | 219.52 | 224.84
|  | 10 | 225.60 |  | 0.27 |  | 10,399 |  | 382 |  | 0.03 |  | 224.84 | 227.68
|  | 11 | 229.64 |  | 0.22 |  | 10,076 |  | 403 |  | 0.03 |  | 227.68 | 232.16
|  | 12 | 249.36 |  | 0.28 |  | 20,544 |  | 616 |  | 0.06 |  | 245.52 | 252.08
|  | 13 | 260.52 |  | 0.36 |  | 13,703 |  | 1,055 |  | 0.03 |  | 257.68 | 260.84
|  | 14 | 260.96 |  | 0.36 |  | 2,833 |  | 1,074 |  | <0.01 |  | 260.84 | 261.12
|  | 15 | 261.20 |  | 0.36 |  | 12,912 |  | 1,084 |  | 0.03 |  | 261.12 | 264.12
|  | 16 | 288.32 |  | 10.69 |  | 895,218 |  | 5,000 |  | N/A |  | 286.84 | 295.00
|  | 17 | 297.60 |  | 1.68 |  | 270,855 |  | > 5k |  | N/A |  | 295.00 | 308.16
|  | 18 | 308.28 |  | 0.20 |  | 9,739 |  | > 5k |  | N/A |  | 308.16 | 310.68
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2