## FolderReportMainPage
| Result: |  |  | 1101119Fx_samples_S1_Fx_sample19_repeat29,29.bopx
| Test Time: |  |  | 2021-Nov-19 16:12(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 176
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample19_repeat29,29 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 58.96 |  | 0.18 |  | 9,706 |  | <LM |  | N/A |  | 52.20 | 59.12
|  | 2 | 59.28 |  | 0.18 |  | 1,581 |  | <LM |  | N/A |  | 59.12 | 59.44
|  | 3 | 59.68 |  | 0.18 |  | 2,697 |  | <LM |  | N/A |  | 59.44 | 60.00
|  | 4 | 60.64 |  | 0.19 |  | 3,865 |  | <LM |  | N/A |  | 60.00 | 61.00
|  | 5 | 101.16 |  | 1.39 |  | 18,608 |  | <LM |  | N/A |  | 100.40 | 101.32
|  | 6 | 101.48 |  | 1.37 |  | 25,006 |  | <LM |  | N/A |  | 101.32 | 102.20
|  | 7 | 102.40 |  | 0.80 |  | 14,319 |  | <LM |  | N/A |  | 102.20 | 102.92
|  | 8 | 103.44 |  | 2.30 |  | 46,546 |  | <LM |  | N/A |  | 102.92 | 104.44
|  | 9 | 104.88 |  | 1.23 |  | 16,517 |  | <LM |  | N/A |  | 104.44 | 105.04
|  | 10 | 106.36 |  | 20.57 |  | 306,949 |  | 20 |  | N/A |  | 105.04 | 107.76
|  | 11 | 108.68 |  | 2.40 |  | 88,450 |  | 26 |  | 0.39 |  | 107.76 | 110.92
|  | 12 | 120.56 |  | 0.30 |  | 10,087 |  | 59 |  | 0.02 |  | 119.80 | 122.20
|  | 13 | 150.80 |  | 0.28 |  | 7,117 |  | 159 |  | 0.03 |  | 150.08 | 151.36
|  | 14 | 152.28 |  | 5.09 |  | 120,831 |  | 164 |  | 0.50 |  | 151.40 | 155.12
|  | 15 | 193.16 |  | 20.98 |  | 718,247 |  | 318 |  | 2.38 |  | 190.44 | 195.72
|  | 16 | 196.12 |  | 0.72 |  | 22,874 |  | 333 |  | 0.07 |  | 195.72 | 197.28
|  | 17 | 197.32 |  | 0.31 |  | 1,799 |  | 340 |  | <0.01 |  | 197.28 | 197.48
|  | 18 | 199.68 |  | 0.65 |  | 40,102 |  | 352 |  | 0.13 |  | 197.52 | 201.28
|  | 19 | 201.92 |  | 0.31 |  | 17,236 |  | 364 |  | 0.05 |  | 201.28 | 204.88
|  | 20 | 262.16 |  | 11.48 |  | 801,911 |  | 5,000 |  | N/A |  | 261.00 | 267.96
|  | 21 | 268.04 |  | 0.84 |  | 5,088 |  | > 5k |  | N/A |  | 267.96 | 268.16
|  | 22 | 270.56 |  | 1.82 |  | 300,264 |  | > 5k |  | N/A |  | 268.16 | 288.96
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2