## FolderReportMainPage
| Result: |  |  | 1101119Fx_samples_S1_Fx_sample4_repeat29,33.bopx
| Test Time: |  |  | 2021-Nov-19 15:49(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 179
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample4_repeat29,33 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.24 |  | 0.18 |  | 8,151 |  | <LM |  | N/A |  | 57.40 | 59.36
|  | 2 | 59.56 |  | 0.18 |  | 1,743 |  | <LM |  | N/A |  | 59.36 | 59.72
|  | 3 | 59.92 |  | 0.19 |  | 1,634 |  | <LM |  | N/A |  | 59.72 | 60.04
|  | 4 | 60.20 |  | 0.19 |  | 1,465 |  | <LM |  | N/A |  | 60.04 | 60.32
|  | 5 | 60.44 |  | 0.19 |  | 3,061 |  | <LM |  | N/A |  | 60.32 | 63.92
|  | 6 | 101.88 |  | 1.52 |  | 42,696 |  | <LM |  | N/A |  | 100.76 | 102.64
|  | 7 | 102.80 |  | 0.72 |  | 12,260 |  | <LM |  | N/A |  | 102.64 | 103.32
|  | 8 | 103.80 |  | 2.29 |  | 41,729 |  | <LM |  | N/A |  | 103.32 | 104.68
|  | 9 | 105.32 |  | 1.21 |  | 20,832 |  | <LM |  | N/A |  | 104.72 | 105.56
|  | 10 | 106.88 |  | 20.32 |  | 275,243 |  | 20 |  | N/A |  | 105.56 | 107.64
|  | 11 | 107.72 |  | 1.78 |  | 28,494 |  | 22 |  | 0.15 |  | 107.64 | 108.32
|  | 12 | 109.28 |  | 2.35 |  | 84,028 |  | 26 |  | 0.37 |  | 108.32 | 111.08
|  | 13 | 119.44 |  | 0.18 |  | 4,929 |  | 53 |  | 0.01 |  | 118.40 | 120.20
|  | 14 | 121.24 |  | 0.43 |  | 10,490 |  | 59 |  | 0.03 |  | 120.44 | 122.36
|  | 15 | 151.72 |  | 0.28 |  | 7,426 |  | 159 |  | 0.03 |  | 151.04 | 152.36
|  | 16 | 153.28 |  | 3.33 |  | 81,634 |  | 164 |  | 0.33 |  | 152.36 | 155.76
|  | 17 | 194.84 |  | 7.50 |  | 246,099 |  | 320 |  | 0.80 |  | 192.48 | 196.00
|  | 18 | 196.92 |  | 6.11 |  | 216,781 |  | 331 |  | 0.70 |  | 196.00 | 199.44
|  | 19 | 205.28 |  | 0.21 |  | 3,508 |  | 375 |  | 0.01 |  | 204.12 | 205.36
|  | 20 | 205.52 |  | 0.22 |  | 6,039 |  | 377 |  | 0.02 |  | 205.36 | 207.88
|  | 21 | 211.04 |  | 0.25 |  | 12,081 |  | 408 |  | 0.04 |  | 208.44 | 213.32
|  | 22 | 263.84 |  | 13.86 |  | 961,032 |  | 5,000 |  | N/A |  | 262.68 | 270.28
|  | 23 | 272.48 |  | 1.66 |  | 68,047 |  | > 5k |  | N/A |  | 270.28 | 272.60
|  | 24 | 272.80 |  | 1.67 |  | 152,567 |  | > 5k |  | N/A |  | 272.60 | 280.36
|  | 25 | 280.48 |  | 0.30 |  | 2,561 |  | > 5k |  | N/A |  | 280.36 | 280.68
|  | 26 | 280.76 |  | 0.31 |  | 13,009 |  | > 5k |  | N/A |  | 280.68 | 282.44
|  | 27 | 282.52 |  | 0.29 |  | 7,303 |  | > 5k |  | N/A |  | 282.48 | 283.48
|  | 28 | 283.60 |  | 0.27 |  | 16,982 |  | > 5k |  | N/A |  | 283.48 | 288.36
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2