## FolderReportMainPage
| Result: |  |  | 1101122Fx samples_S1_sample15_repeat19,37.bopx
| Test Time: |  |  | 2021-Nov-23 10:09(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 163
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample15_repeat19,37 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 106.24 |  | 2.02 |  | 57,304 |  | <LM |  | N/A |  | 105.04 | 107.52
|  | 2 | 108.04 |  | 2.11 |  | 41,976 |  | <LM |  | N/A |  | 107.52 | 109.12
|  | 3 | 109.84 |  | 1.06 |  | 22,232 |  | <LM |  | N/A |  | 109.12 | 110.20
|  | 4 | 111.80 |  | 17.32 |  | 251,943 |  | 20 |  | N/A |  | 110.20 | 112.56
|  | 5 | 112.68 |  | 1.48 |  | 22,570 |  | 22 |  | 0.11 |  | 112.56 | 113.20
|  | 6 | 114.72 |  | 2.70 |  | 109,431 |  | 27 |  | 0.41 |  | 113.20 | 116.24
|  | 7 | 160.44 |  | 5.69 |  | 138,645 |  | 163 |  | 0.53 |  | 159.36 | 163.36
|  | 8 | 197.28 |  | 12.11 |  | 392,924 |  | 288 |  | 1.26 |  | 194.52 | 199.28
|  | 9 | 199.64 |  | 0.38 |  | 11,172 |  | 297 |  | 0.04 |  | 199.28 | 201.56
|  | 10 | 209.56 |  | 7.70 |  | 267,953 |  | 344 |  | 0.81 |  | 207.36 | 211.56
|  | 11 | 211.76 |  | 0.23 |  | 1,552 |  | 355 |  | <0.01 |  | 211.60 | 211.84
|  | 12 | 212.36 |  | 0.25 |  | 9,034 |  | 358 |  | 0.03 |  | 211.84 | 214.04
|  | 13 | 233.40 |  | 0.29 |  | 15,855 |  | 492 |  | 0.05 |  | 231.32 | 234.80
|  | 14 | 234.92 |  | 0.21 |  | 1,858 |  | 510 |  | <0.01 |  | 234.80 | 235.12
|  | 15 | 235.68 |  | 0.25 |  | 12,428 |  | 524 |  | 0.04 |  | 235.12 | 238.56
|  | 16 | 277.36 |  | 9.38 |  | 746,222 |  | 5,000 |  | N/A |  | 275.88 | 283.36
|  | 17 | 283.56 |  | 0.79 |  | 6,685 |  | > 5k |  | N/A |  | 283.36 | 283.64
|  | 18 | 286.08 |  | 1.64 |  | 268,978 |  | > 5k |  | N/A |  | 283.68 | 302.56
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2