## FolderReportMainPage
| Result: |  |  | 1101122Fx samples_S1_sample5_repeat29,34.bopx
| Test Time: |  |  | 2021-Nov-23 09:46(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 166
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample5_repeat29,34 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.76 |  | 0.17 |  | 10,989 |  | <LM |  | N/A |  | 56.48 | 61.56
|  | 2 | 61.76 |  | 0.16 |  | 1,411 |  | <LM |  | N/A |  | 61.56 | 61.88
|  | 3 | 62.04 |  | 0.16 |  | 4,877 |  | <LM |  | N/A |  | 61.88 | 63.80
|  | 4 | 107.68 |  | 2.09 |  | 57,288 |  | <LM |  | N/A |  | 106.48 | 108.88
|  | 5 | 109.48 |  | 2.13 |  | 44,631 |  | <LM |  | N/A |  | 108.92 | 110.72
|  | 6 | 111.40 |  | 1.04 |  | 20,907 |  | <LM |  | N/A |  | 110.72 | 111.76
|  | 7 | 113.52 |  | 17.39 |  | 256,099 |  | 20 |  | N/A |  | 111.80 | 114.28
|  | 8 | 114.44 |  | 1.37 |  | 19,081 |  | 22 |  | 0.09 |  | 114.40 | 115.00
|  | 9 | 116.68 |  | 2.83 |  | 114,963 |  | 28 |  | 0.42 |  | 115.00 | 118.16
|  | 10 | 125.96 |  | 0.22 |  | 2,465 |  | 50 |  | <0.01 |  | 125.36 | 126.44
|  | 11 | 163.00 |  | 3.57 |  | 88,732 |  | 164 |  | 0.33 |  | 161.92 | 165.72
|  | 12 | 202.92 |  | 0.18 |  | 5,459 |  | 299 |  | 0.02 |  | 201.36 | 204.48
|  | 13 | 207.80 |  | 7.99 |  | 266,200 |  | 322 |  | 0.82 |  | 205.12 | 209.32
|  | 14 | 210.80 |  | 6.69 |  | 240,069 |  | 336 |  | 0.72 |  | 209.32 | 213.08
|  | 15 | 223.28 |  | 0.32 |  | 11,875 |  | 397 |  | 0.03 |  | 222.00 | 224.76
|  | 16 | 226.04 |  | 0.26 |  | 11,513 |  | 414 |  | 0.03 |  | 224.76 | 227.68
|  | 17 | 253.36 |  | 0.18 |  | 8,233 |  | 991 |  | 0.02 |  | 251.28 | 256.88
|  | 18 | 274.32 |  | 0.20 |  | 8,750 |  | 2,918 |  | 0.02 |  | 272.40 | 276.96
|  | 19 | 281.16 |  | 13.08 |  | 1,030,496 |  | 5,000 |  | N/A |  | 279.80 | 287.96
|  | 20 | 290.48 |  | 1.70 |  | 253,276 |  | > 5k |  | N/A |  | 287.96 | 300.44
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2