## FolderReportMainPage
| Result: |  |  | 1101124Fx samples_S1_sample2_repeat29,29.bopx
| Test Time: |  |  | 2021-Nov-24 13:58(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 148
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample2_repeat29,29 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 107.92 |  | 2.88 |  | 69,690 |  | <LM |  | N/A |  | 106.76 | 109.16
|  | 2 | 109.68 |  | 1.88 |  | 40,698 |  | <LM |  | N/A |  | 109.16 | 111.00
|  | 3 | 111.72 |  | 0.79 |  | 15,032 |  | <LM |  | N/A |  | 111.00 | 111.92
|  | 4 | 113.72 |  | 16.85 |  | 243,623 |  | 20 |  | N/A |  | 111.92 | 114.48
|  | 5 | 114.60 |  | 1.36 |  | 20,937 |  | 22 |  | 0.10 |  | 114.48 | 115.16
|  | 6 | 116.64 |  | 1.93 |  | 82,811 |  | 27 |  | 0.31 |  | 115.16 | 118.04
|  | 7 | 126.08 |  | 0.24 |  | 3,667 |  | 50 |  | <0.01 |  | 125.24 | 126.48
|  | 8 | 161.36 |  | 0.29 |  | 6,766 |  | 157 |  | 0.03 |  | 160.56 | 161.96
|  | 9 | 163.04 |  | 8.59 |  | 194,529 |  | 162 |  | 0.73 |  | 161.96 | 164.28
|  | 10 | 164.44 |  | 0.51 |  | 18,399 |  | 167 |  | 0.07 |  | 164.32 | 167.32
|  | 11 | 207.68 |  | 23.52 |  | 819,553 |  | 318 |  | 2.52 |  | 204.80 | 210.20
|  | 12 | 211.00 |  | 0.71 |  | 31,896 |  | 334 |  | 0.10 |  | 210.20 | 213.24
|  | 13 | 214.88 |  | 0.58 |  | 24,019 |  | 353 |  | 0.07 |  | 213.28 | 216.64
|  | 14 | 223.72 |  | 0.23 |  | 6,991 |  | 396 |  | 0.02 |  | 221.20 | 224.04
|  | 15 | 224.16 |  | 0.23 |  | 1,981 |  | 398 |  | <0.01 |  | 224.04 | 224.36
|  | 16 | 224.48 |  | 0.22 |  | 1,744 |  | 400 |  | <0.01 |  | 224.40 | 224.68
|  | 17 | 224.96 |  | 0.23 |  | 2,698 |  | 403 |  | <0.01 |  | 224.68 | 225.12
|  | 18 | 226.04 |  | 0.27 |  | 6,912 |  | 410 |  | 0.02 |  | 225.12 | 226.16
|  | 19 | 226.76 |  | 0.24 |  | 5,266 |  | 415 |  | 0.01 |  | 226.16 | 226.96
|  | 20 | 227.12 |  | 0.21 |  | 1,908 |  | 417 |  | <0.01 |  | 226.96 | 227.28
|  | 21 | 227.76 |  | 0.20 |  | 13,176 |  | 422 |  | 0.04 |  | 227.28 | 230.72
|  | 22 | 282.00 |  | 10.71 |  | 899,053 |  | 5,000 |  | N/A |  | 280.64 | 288.48
|  | 23 | 290.88 |  | 2.03 |  | 311,359 |  | > 5k |  | N/A |  | 288.48 | 304.92
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2