## FolderReportMainPage
| Result: |  |  | FX-SC-Dilute_S1A07_R1.bopx
| Test Time: |  |  | 2022-Aug-17 12:41(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 192
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 51.60 |  | 0.24 |  | 1,598 |  | <LM |  | N/A |  | 51.48 | 51.72
|  | 2 | 51.92 |  | 0.23 |  | 3,777 |  | <LM |  | N/A |  | 51.72 | 53.00
|  | 3 | 91.00 |  | 1.39 |  | 18,394 |  | <LM |  | N/A |  | 90.28 | 91.44
|  | 4 | 93.60 |  | 0.54 |  | 11,337 |  | <LM |  | N/A |  | 92.32 | 93.76
|  | 5 | 94.88 |  | 9.15 |  | 113,431 |  | 20 |  | N/A |  | 93.76 | 96.16
|  | 6 | 114.52 |  | 0.73 |  | 8,805 |  | 95 |  | 0.03 |  | 114.08 | 115.12
|  | 7 | 168.32 |  | 26.65 |  | 682,890 |  | 331 |  | 1.19 |  | 166.76 | 171.56
|  | 8 | 171.72 |  | 0.53 |  | 8,794 |  | 355 |  | 0.02 |  | 171.60 | 172.44
|  | 9 | 172.52 |  | 0.26 |  | 3,252 |  | 360 |  | <0.01 |  | 172.44 | 173.48
|  | 10 | 177.76 |  | 10.39 |  | 237,310 |  | 400 |  | 0.40 |  | 177.08 | 180.16
|  | 11 | 181.28 |  | 0.49 |  | 11,874 |  | 433 |  | 0.02 |  | 180.16 | 181.52
|  | 12 | 182.00 |  | 0.73 |  | 14,355 |  | 440 |  | 0.02 |  | 181.52 | 182.84
|  | 13 | 187.52 |  | 10.90 |  | 319,483 |  | 499 |  | 0.50 |  | 186.36 | 191.00
|  | 15 | 222.52 |  | 11.08 |  | 761,597 |  | 5,000 |  | N/A |  | 221.44 | 234.84
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2