## FolderReportMainPage
| Result: |  |  | FX-test_S2A05_R1.bopx
| Test Time: |  |  | 2022-Aug-17 13:23(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 187
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 55.60 |  | 0.23 |  | 9,431 |  | <LM |  | N/A |  | 54.20 | 55.96
|  | 2 | 56.28 |  | 0.23 |  | 3,161 |  | <LM |  | N/A |  | 55.96 | 57.48
|  | 3 | 88.04 |  | 3.21 |  | 75,411 |  | <LM |  | N/A |  | 87.08 | 89.20
|  | 4 | 89.64 |  | 2.53 |  | 37,202 |  | <LM |  | N/A |  | 89.24 | 90.36
|  | 5 | 91.12 |  | 1.42 |  | 25,992 |  | <LM |  | N/A |  | 90.36 | 91.24
|  | 6 | 92.08 |  | 9.98 |  | 136,963 |  | 20 |  | N/A |  | 91.24 | 92.64
|  | 7 | 93.20 |  | 1.79 |  | 61,441 |  | 26 |  | 0.20 |  | 92.64 | 95.20
|  | 8 | 104.32 |  | 0.54 |  | 9,868 |  | 65 |  | 0.03 |  | 103.76 | 105.16
|  | 9 | 112.12 |  | 3.09 |  | 39,581 |  | 95 |  | 0.11 |  | 111.60 | 112.96
|  | 10 | 129.12 |  | 0.28 |  | 5,023 |  | 160 |  | 0.01 |  | 128.44 | 129.80
|  | 11 | 131.24 |  | 22.39 |  | 402,233 |  | 168 |  | 0.91 |  | 130.32 | 135.68
|  | 12 | 170.28 |  | 11.94 |  | 322,953 |  | 351 |  | 0.55 |  | 168.64 | 173.84
|  | 13 | 184.04 |  | 5.20 |  | 183,666 |  | 468 |  | 0.29 |  | 182.56 | 186.56
|  | 14 | 186.68 |  | 0.36 |  | 8,743 |  | 496 |  | 0.01 |  | 186.56 | 188.08
|  | 15 | 222.76 |  | 8.09 |  | 611,436 |  | 5,000 |  | N/A |  | 221.28 | 227.96
|  | 16 | 228.04 |  | 1.53 |  | 126,226 |  | > 5k |  | N/A |  | 227.96 | 235.24
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2