## FolderReportMainPage
| Result: |  |  | 1101119Fx_samples_S1_Fx_sample7_repeat29,48.bopx
| Test Time: |  |  | 2021-Nov-19 15:57(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 178
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample7_repeat29,48 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 101.76 |  | 1.44 |  | 42,678 |  | <LM |  | N/A |  | 100.60 | 102.52
|  | 2 | 102.76 |  | 0.74 |  | 11,890 |  | <LM |  | N/A |  | 102.52 | 103.16
|  | 3 | 103.68 |  | 2.37 |  | 43,829 |  | <LM |  | N/A |  | 103.16 | 104.56
|  | 4 | 105.20 |  | 1.22 |  | 20,860 |  | <LM |  | N/A |  | 104.56 | 105.40
|  | 5 | 106.72 |  | 20.38 |  | 274,089 |  | 20 |  | N/A |  | 105.40 | 107.44
|  | 6 | 107.56 |  | 1.81 |  | 27,711 |  | 22 |  | 0.15 |  | 107.44 | 108.08
|  | 7 | 109.08 |  | 2.39 |  | 86,938 |  | 26 |  | 0.38 |  | 108.08 | 110.88
|  | 8 | 121.04 |  | 0.38 |  | 9,330 |  | 59 |  | 0.02 |  | 120.28 | 122.12
|  | 9 | 151.40 |  | 0.29 |  | 7,378 |  | 159 |  | 0.03 |  | 150.84 | 152.04
|  | 10 | 153.00 |  | 3.95 |  | 96,572 |  | 164 |  | 0.39 |  | 152.04 | 155.60
|  | 11 | 194.40 |  | 8.60 |  | 299,475 |  | 320 |  | 0.98 |  | 191.96 | 198.16
|  | 12 | 205.52 |  | 4.53 |  | 155,790 |  | 379 |  | 0.47 |  | 203.68 | 207.72
|  | 13 | 263.24 |  | 13.86 |  | 947,045 |  | 5,000 |  | N/A |  | 262.08 | 269.44
|  | 14 | 269.60 |  | 0.72 |  | 5,883 |  | > 5k |  | N/A |  | 269.44 | 269.72
|  | 15 | 272.00 |  | 1.61 |  | 205,917 |  | > 5k |  | N/A |  | 269.72 | 279.24
|  | 16 | 279.32 |  | 0.29 |  | 49,579 |  | > 5k |  | N/A |  | 279.24 | 296.76
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2