## FolderReportMainPage
| Result: |  |  | 1101130 Fx RM samples_RM07,122_repeat 33,113.bopx
| Test Time: |  |  | 2021-Nov-30 13:37(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 119
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | RM07,122_repeat 33,113 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 104.24 |  | 1.67 |  | 58,805 |  | <LM |  | N/A |  | 103.04 | 105.56
|  | 2 | 106.12 |  | 2.10 |  | 45,499 |  | <LM |  | N/A |  | 105.56 | 107.20
|  | 3 | 109.00 |  | 17.09 |  | 250,025 |  | 20 |  | N/A |  | 107.24 | 109.68
|  | 4 | 109.88 |  | 1.77 |  | 29,530 |  | 22 |  | 0.14 |  | 109.72 | 110.44
|  | 5 | 111.28 |  | 1.72 |  | 63,435 |  | 26 |  | 0.25 |  | 110.44 | 113.00
|  | 6 | 120.28 |  | 0.35 |  | 4,436 |  | 48 |  | <0.01 |  | 119.92 | 120.72
|  | 7 | 123.20 |  | 0.19 |  | 5,001 |  | 57 |  | 0.01 |  | 122.56 | 124.04
|  | 8 | 154.00 |  | 0.36 |  | 7,601 |  | 156 |  | 0.03 |  | 153.32 | 154.52
|  | 9 | 155.44 |  | 10.13 |  | 236,465 |  | 160 |  | 0.94 |  | 154.52 | 158.64
|  | 10 | 201.32 |  | 6.09 |  | 220,167 |  | 332 |  | 0.69 |  | 198.96 | 203.64
|  | 11 | 203.72 |  | 0.24 |  | 4,073 |  | 344 |  | 0.01 |  | 203.64 | 204.32
|  | 12 | 204.40 |  | 0.21 |  | 1,055 |  | 347 |  | <0.01 |  | 204.32 | 204.48
|  | 13 | 204.96 |  | 0.23 |  | 2,873 |  | 350 |  | <0.01 |  | 204.52 | 205.00
|  | 14 | 205.40 |  | 0.31 |  | 10,298 |  | 353 |  | 0.03 |  | 205.00 | 206.60
|  | 15 | 207.64 |  | 0.25 |  | 6,502 |  | 364 |  | 0.02 |  | 206.64 | 207.80
|  | 16 | 207.96 |  | 0.24 |  | 6,777 |  | 365 |  | 0.02 |  | 207.88 | 210.44
|  | 17 | 228.84 |  | 0.44 |  | 17,314 |  | 517 |  | 0.05 |  | 227.20 | 230.28
|  | 18 | 235.28 |  | 1.32 |  | 103,716 |  | 648 |  | 0.31 |  | 232.88 | 240.04
|  | 19 | 269.16 |  | 13.14 |  | 975,600 |  | 5,000 |  | N/A |  | 267.96 | 275.60
|  | 20 | 277.52 |  | 1.74 |  | 70,703 |  | > 5k |  | N/A |  | 275.60 | 277.64
|  | 21 | 277.84 |  | 1.74 |  | 172,353 |  | > 5k |  | N/A |  | 277.68 | 286.24
|  | 22 | 286.36 |  | 0.30 |  | 14,209 |  | > 5k |  | N/A |  | 286.28 | 288.36
|  | 23 | 288.44 |  | 0.24 |  | 17,277 |  | > 5k |  | N/A |  | 288.36 | 294.80
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2