## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample23_repeat30,38.bopx
| Test Time: |  |  | 2021-Nov-19 09:44(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 183
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample23_repeat30,3 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 108.44 |  | 2.10 |  | 59,019 |  | <LM |  | N/A |  | 107.08 | 109.68
|  | 2 | 110.20 |  | 2.10 |  | 44,150 |  | <LM |  | N/A |  | 109.68 | 111.44
|  | 3 | 112.20 |  | 1.05 |  | 22,635 |  | <LM |  | N/A |  | 111.44 | 112.60
|  | 4 | 114.44 |  | 19.84 |  | 289,100 |  | 20 |  | N/A |  | 112.60 | 115.16
|  | 5 | 115.36 |  | 1.39 |  | 24,360 |  | 22 |  | 0.12 |  | 115.16 | 115.92
|  | 6 | 117.68 |  | 2.91 |  | 118,030 |  | 28 |  | 0.45 |  | 115.96 | 119.20
|  | 7 | 164.28 |  | 5.31 |  | 133,460 |  | 163 |  | 0.50 |  | 163.12 | 167.52
|  | 8 | 210.36 |  | 8.38 |  | 278,866 |  | 325 |  | 0.84 |  | 207.64 | 212.24
|  | 9 | 214.76 |  | 8.77 |  | 328,762 |  | 346 |  | 0.96 |  | 212.28 | 219.08
|  | 10 | 231.56 |  | 0.35 |  | 16,196 |  | 440 |  | 0.04 |  | 227.60 | 231.64
|  | 11 | 231.76 |  | 0.35 |  | 26,470 |  | 441 |  | 0.07 |  | 231.64 | 238.16
|  | 12 | 283.96 |  | 10.48 |  | 843,268 |  | 5,000 |  | N/A |  | 282.48 | 290.32
|  | 13 | 293.16 |  | 1.55 |  | 267,241 |  | > 5k |  | N/A |  | 290.36 | 304.40
|  | 14 | 304.52 |  | 0.23 |  | 10,971 |  | > 5k |  | N/A |  | 304.40 | 307.60
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2