## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample12_repeat29,55.bopx
| Test Time: |  |  | 2021-Nov-18 12:01(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 192
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample12_repeat29,55 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 108.32 |  | 2.61 |  | 63,338 |  | <LM |  | N/A |  | 107.12 | 109.60
|  | 2 | 110.08 |  | 1.63 |  | 34,660 |  | <LM |  | N/A |  | 109.60 | 111.36
|  | 3 | 112.04 |  | 0.70 |  | 10,919 |  | <LM |  | N/A |  | 111.40 | 112.16
|  | 4 | 114.28 |  | 23.64 |  | 324,885 |  | 20 |  | N/A |  | 112.16 | 115.00
|  | 5 | 115.24 |  | 1.30 |  | 21,220 |  | 22 |  | 0.10 |  | 115.00 | 115.76
|  | 6 | 117.12 |  | 1.12 |  | 49,916 |  | 27 |  | 0.20 |  | 115.76 | 118.44
|  | 7 | 122.36 |  | 1.13 |  | 15,670 |  | 40 |  | 0.04 |  | 121.88 | 123.32
|  | 9 | 209.44 |  | 11.35 |  | 482,884 |  | 324 |  | 1.46 |  | 206.00 | 211.76
|  | 10 | 212.84 |  | 0.63 |  | 31,479 |  | 341 |  | 0.09 |  | 211.76 | 214.92
|  | 11 | 216.40 |  | 0.57 |  | 28,190 |  | 358 |  | 0.08 |  | 214.96 | 218.84
|  | 12 | 226.68 |  | 2.88 |  | 120,265 |  | 412 |  | 0.33 |  | 224.64 | 229.20
|  | 13 | 268.72 |  | 0.24 |  | 11,576 |  | 1,961 |  | 0.03 |  | 265.68 | 268.80
|  | 14 | 269.20 |  | 0.27 |  | 3,353 |  | 2,018 |  | <0.01 |  | 268.88 | 269.36
|  | 15 | 269.60 |  | 0.26 |  | 11,037 |  | 2,067 |  | 0.03 |  | 269.36 | 273.12
|  | 16 | 282.76 |  | 15.26 |  | 1,178,030 |  | 5,000 |  | N/A |  | 281.40 | 289.84
|  | 17 | 291.80 |  | 1.39 |  | 56,161 |  | > 5k |  | N/A |  | 289.88 | 291.92
|  | 18 | 292.04 |  | 1.39 |  | 149,729 |  | > 5k |  | N/A |  | 291.92 | 304.40
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2