## FolderReportMainPage
| Result: |  |  | FX_S2A02_R1.bopx
| Test Time: |  |  | 2022-Oct-28 15:40(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 142
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.40 |  | 0.18 |  | 7,985 |  | <LM |  | N/A |  | 54.44 | 56.76
|  | 2 | 56.92 |  | 0.18 |  | 1,598 |  | <LM |  | N/A |  | 56.76 | 57.08
|  | 3 | 57.16 |  | 0.18 |  | 1,590 |  | <LM |  | N/A |  | 57.08 | 57.40
|  | 4 | 57.56 |  | 0.18 |  | 2,472 |  | <LM |  | N/A |  | 57.40 | 57.92
|  | 5 | 58.12 |  | 0.18 |  | 1,430 |  | <LM |  | N/A |  | 57.92 | 58.20
|  | 6 | 58.64 |  | 0.19 |  | 3,524 |  | <LM |  | N/A |  | 58.20 | 59.64
|  | 7 | 89.24 |  | 1.58 |  | 15,345 |  | <LM |  | N/A |  | 88.64 | 89.36
|  | 8 | 89.56 |  | 1.82 |  | 27,942 |  | <LM |  | N/A |  | 89.36 | 90.48
|  | 9 | 91.24 |  | 1.28 |  | 22,459 |  | <LM |  | N/A |  | 90.48 | 91.76
|  | 10 | 92.76 |  | 1.24 |  | 25,536 |  | <LM |  | N/A |  | 91.76 | 92.88
|  | 11 | 93.76 |  | 20.14 |  | 251,917 |  | 20 |  | N/A |  | 92.88 | 94.44
|  | 12 | 94.60 |  | 1.48 |  | 20,505 |  | 22 |  | 0.08 |  | 94.44 | 95.00
|  | 13 | 95.16 |  | 1.21 |  | 30,673 |  | 24 |  | 0.11 |  | 95.04 | 97.24
|  | 14 | 136.52 |  | 1.70 |  | 51,182 |  | 167 |  | 0.16 |  | 135.48 | 139.36
|  | 15 | 175.00 |  | 11.05 |  | 498,402 |  | 332 |  | 1.22 |  | 172.60 | 180.20
|  | 16 | 181.72 |  | 0.26 |  | 12,713 |  | 371 |  | 0.03 |  | 180.20 | 183.96
|  | 17 | 234.00 |  | 13.34 |  | 965,066 |  | 5,000 |  | N/A |  | 232.88 | 239.92
|  | 18 | 241.24 |  | 1.34 |  | 46,667 |  | > 5k |  | N/A |  | 239.96 | 241.40
|  | 19 | 241.56 |  | 1.38 |  | 164,098 |  | > 5k |  | N/A |  | 241.40 | 253.88
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2