## FolderReportMainPage
| Result: |  |  | FX_S2A05_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:08(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 139
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 57.76 |  | 0.18 |  | 7,305 |  | <LM |  | N/A |  | 57.12 | 59.60
|  | 2 | 89.00 |  | 1.63 |  | 15,579 |  | <LM |  | N/A |  | 88.40 | 89.12
|  | 3 | 89.32 |  | 1.86 |  | 29,299 |  | <LM |  | N/A |  | 89.12 | 90.28
|  | 4 | 90.44 |  | 0.45 |  | 3,563 |  | <LM |  | N/A |  | 90.28 | 90.56
|  | 5 | 91.00 |  | 1.35 |  | 19,484 |  | <LM |  | N/A |  | 90.56 | 91.48
|  | 6 | 92.44 |  | 1.29 |  | 26,270 |  | <LM |  | N/A |  | 91.48 | 92.60
|  | 7 | 93.52 |  | 20.75 |  | 260,166 |  | 20 |  | N/A |  | 92.60 | 94.20
|  | 8 | 94.28 |  | 1.52 |  | 19,634 |  | 22 |  | 0.08 |  | 94.20 | 94.72
|  | 9 | 94.88 |  | 1.26 |  | 32,724 |  | 24 |  | 0.12 |  | 94.72 | 96.96
|  | 10 | 136.04 |  | 1.70 |  | 54,137 |  | 167 |  | 0.17 |  | 135.04 | 139.16
|  | 11 | 174.04 |  | 10.20 |  | 482,380 |  | 329 |  | 1.19 |  | 171.64 | 179.16
|  | 12 | 233.40 |  | 13.09 |  | 942,384 |  | 5,000 |  | N/A |  | 232.36 | 239.32
|  | 13 | 240.72 |  | 1.40 |  | 47,757 |  | > 5k |  | N/A |  | 239.32 | 240.76
|  | 14 | 240.80 |  | 1.43 |  | 9,985 |  | > 5k |  | N/A |  | 240.76 | 241.00
|  | 15 | 241.08 |  | 1.43 |  | 172,689 |  | > 5k |  | N/A |  | 241.00 | 254.80
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2