## FolderReportMainPage
| Result: |  |  | FX_S2A06_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:17(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 138
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 56.16 |  | 0.17 |  | 6,382 |  | <LM |  | N/A |  | 54.88 | 56.64
|  | 2 | 56.88 |  | 0.17 |  | 2,355 |  | <LM |  | N/A |  | 56.64 | 57.16
|  | 3 | 57.36 |  | 0.17 |  | 2,867 |  | <LM |  | N/A |  | 57.16 | 57.80
|  | 4 | 57.92 |  | 0.17 |  | 1,019 |  | <LM |  | N/A |  | 57.80 | 58.00
|  | 5 | 58.20 |  | 0.18 |  | 1,752 |  | <LM |  | N/A |  | 58.00 | 58.36
|  | 6 | 58.48 |  | 0.18 |  | 2,588 |  | <LM |  | N/A |  | 58.36 | 60.48
|  | 7 | 89.48 |  | 1.85 |  | 42,917 |  | <LM |  | N/A |  | 88.48 | 90.36
|  | 8 | 90.60 |  | 0.45 |  | 4,447 |  | <LM |  | N/A |  | 90.36 | 90.72
|  | 9 | 91.16 |  | 1.34 |  | 19,532 |  | <LM |  | N/A |  | 90.72 | 91.64
|  | 10 | 92.60 |  | 1.29 |  | 26,383 |  | <LM |  | N/A |  | 91.64 | 92.76
|  | 11 | 93.68 |  | 20.55 |  | 258,273 |  | 20 |  | N/A |  | 92.76 | 94.36
|  | 12 | 94.48 |  | 1.52 |  | 19,616 |  | 22 |  | 0.08 |  | 94.36 | 94.88
|  | 13 | 94.96 |  | 1.25 |  | 33,028 |  | 24 |  | 0.12 |  | 94.88 | 97.16
|  | 14 | 136.24 |  | 2.16 |  | 64,673 |  | 167 |  | 0.20 |  | 135.28 | 139.32
|  | 15 | 174.44 |  | 10.30 |  | 474,908 |  | 331 |  | 1.17 |  | 171.76 | 177.12
|  | 16 | 177.60 |  | 0.62 |  | 9,723 |  | 349 |  | 0.02 |  | 177.12 | 177.72
|  | 17 | 177.80 |  | 0.62 |  | 21,035 |  | 350 |  | 0.05 |  | 177.72 | 179.80
|  | 18 | 179.92 |  | 0.17 |  | 1,014 |  | 362 |  | <0.01 |  | 179.80 | 180.00
|  | 19 | 181.36 |  | 0.42 |  | 21,399 |  | 371 |  | 0.05 |  | 180.12 | 183.92
|  | 20 | 233.60 |  | 12.90 |  | 921,231 |  | 5,000 |  | N/A |  | 232.48 | 239.48
|  | 21 | 240.68 |  | 1.33 |  | 41,498 |  | > 5k |  | N/A |  | 239.48 | 240.76
|  | 22 | 241.04 |  | 1.41 |  | 184,510 |  | > 5k |  | N/A |  | 240.76 | 254.80
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2