## FolderReportMainPage
| Result: |  |  | FX_S2A10_R1.bopx
| Test Time: |  |  | 2022-Oct-28 16:54(UTC+08) |  |  |  | Instrument ID: |  |  |  | 40480011475100
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 134
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 89.24 |  | 1.65 |  | 16,379 |  | <LM |  | N/A |  | 88.64 | 89.36
|  | 2 | 89.56 |  | 1.90 |  | 28,797 |  | <LM |  | N/A |  | 89.36 | 90.44
|  | 3 | 90.68 |  | 0.45 |  | 4,427 |  | <LM |  | N/A |  | 90.44 | 90.80
|  | 4 | 91.24 |  | 1.34 |  | 19,478 |  | <LM |  | N/A |  | 90.80 | 91.72
|  | 5 | 92.68 |  | 1.31 |  | 26,929 |  | <LM |  | N/A |  | 91.72 | 92.84
|  | 6 | 93.72 |  | 20.90 |  | 259,941 |  | 20 |  | N/A |  | 92.84 | 94.44
|  | 7 | 94.52 |  | 1.53 |  | 19,550 |  | 22 |  | 0.08 |  | 94.44 | 94.96
|  | 8 | 95.08 |  | 1.25 |  | 31,091 |  | 24 |  | 0.11 |  | 94.96 | 97.12
|  | 9 | 136.28 |  | 2.67 |  | 79,853 |  | 167 |  | 0.25 |  | 135.36 | 139.56
|  | 10 | 174.36 |  | 12.06 |  | 554,490 |  | 330 |  | 1.37 |  | 171.80 | 177.08
|  | 11 | 177.72 |  | 0.76 |  | 38,039 |  | 350 |  | 0.09 |  | 177.08 | 179.72
|  | 12 | 179.80 |  | 0.24 |  | 1,889 |  | 362 |  | <0.01 |  | 179.72 | 180.00
|  | 13 | 181.24 |  | 0.55 |  | 29,320 |  | 370 |  | 0.07 |  | 180.00 | 183.76
|  | 14 | 233.56 |  | 12.62 |  | 903,706 |  | 5,000 |  | N/A |  | 232.44 | 239.32
|  | 15 | 240.92 |  | 1.53 |  | 59,901 |  | > 5k |  | N/A |  | 239.36 | 241.04
|  | 16 | 241.12 |  | 1.55 |  | 191,237 |  | > 5k |  | N/A |  | 241.04 | 255.56
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2