## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample25_repeat29,30.bopx
| Test Time: |  |  | 2021-Nov-19 09:52(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 182
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample25_repeat29,30 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.84 |  | 0.29 |  | 10,908 |  | <LM |  | N/A |  | 56.88 | 59.96
|  | 2 | 60.04 |  | 0.30 |  | 1,477 |  | <LM |  | N/A |  | 59.96 | 60.12
|  | 3 | 60.28 |  | 0.31 |  | 4,145 |  | <LM |  | N/A |  | 60.16 | 60.68
|  | 4 | 61.00 |  | 0.30 |  | 6,727 |  | <LM |  | N/A |  | 60.68 | 61.56
|  | 5 | 61.68 |  | 0.30 |  | 3,642 |  | <LM |  | N/A |  | 61.56 | 62.04
|  | 6 | 62.20 |  | 0.27 |  | 2,145 |  | <LM |  | N/A |  | 62.04 | 62.32
|  | 7 | 62.44 |  | 0.27 |  | 2,159 |  | <LM |  | N/A |  | 62.32 | 62.60
|  | 8 | 62.68 |  | 0.28 |  | 2,846 |  | <LM |  | N/A |  | 62.60 | 63.16
|  | 9 | 103.56 |  | 0.28 |  | 4,916 |  | <LM |  | N/A |  | 102.76 | 103.96
|  | 10 | 107.88 |  | 3.99 |  | 116,651 |  | <LM |  | N/A |  | 105.68 | 109.16
|  | 11 | 109.68 |  | 3.61 |  | 76,436 |  | <LM |  | N/A |  | 109.16 | 110.84
|  | 12 | 111.60 |  | 1.90 |  | 40,503 |  | <LM |  | N/A |  | 110.84 | 111.96
|  | 13 | 113.76 |  | 37.74 |  | 546,435 |  | 20 |  | N/A |  | 111.96 | 114.48
|  | 14 | 114.68 |  | 2.69 |  | 45,595 |  | 22 |  | 0.22 |  | 114.48 | 115.20
|  | 15 | 116.92 |  | 5.26 |  | 218,073 |  | 28 |  | 0.84 |  | 115.24 | 118.96
|  | 16 | 120.12 |  | 0.23 |  | 6,480 |  | 35 |  | 0.02 |  | 119.28 | 122.28
|  | 17 | 131.64 |  | 0.20 |  | 4,733 |  | 66 |  | 0.01 |  | 131.12 | 132.92
|  | 18 | 161.52 |  | 0.31 |  | 7,359 |  | 158 |  | 0.03 |  | 160.80 | 162.04
|  | 19 | 163.24 |  | 13.03 |  | 327,910 |  | 163 |  | 1.24 |  | 162.04 | 167.28
|  | 20 | 208.24 |  | 38.31 |  | 1,730,884 |  | 320 |  | 5.27 |  | 204.88 | 210.84
|  | 21 | 212.12 |  | 3.44 |  | 146,382 |  | 339 |  | 0.43 |  | 210.84 | 213.88
|  | 22 | 215.76 |  | 3.10 |  | 145,886 |  | 357 |  | 0.42 |  | 213.92 | 219.36
|  | 23 | 220.44 |  | 0.22 |  | 4,968 |  | 380 |  | 0.01 |  | 219.44 | 220.56
|  | 24 | 220.64 |  | 0.21 |  | 5,379 |  | 381 |  | 0.02 |  | 220.56 | 222.88
|  | 25 | 282.36 |  | 17.73 |  | 1,455,466 |  | 5,000 |  | N/A |  | 280.88 | 288.60
|  | 26 | 291.20 |  | 3.18 |  | 572,811 |  | > 5k |  | N/A |  | 288.60 | 310.56
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2