## FolderReportMainPage
| Result: |  |  | 1101118Fx_samples_S1_Fx_sample28_repeat33,38.bopx
| Test Time: |  |  | 2021-Nov-18 12:09(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 191
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | Fx_sample28_repeat33,38 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 61.16 |  | 0.19 |  | 5,406 |  | <LM |  | N/A |  | 60.32 | 61.48
|  | 2 | 61.64 |  | 0.19 |  | 2,191 |  | <LM |  | N/A |  | 61.48 | 61.92
|  | 3 | 62.32 |  | 0.19 |  | 2,533 |  | <LM |  | N/A |  | 61.92 | 62.44
|  | 4 | 62.60 |  | 0.19 |  | 2,591 |  | <LM |  | N/A |  | 62.44 | 62.96
|  | 5 | 63.16 |  | 0.19 |  | 1,664 |  | <LM |  | N/A |  | 62.96 | 63.48
|  | 6 | 107.36 |  | 2.72 |  | 67,971 |  | <LM |  | N/A |  | 106.08 | 108.64
|  | 7 | 109.16 |  | 1.83 |  | 39,543 |  | <LM |  | N/A |  | 108.64 | 110.36
|  | 8 | 113.16 |  | 24.25 |  | 339,962 |  | 20 |  | N/A |  | 110.36 | 113.84
|  | 9 | 114.08 |  | 1.41 |  | 22,284 |  | 22 |  | 0.11 |  | 113.88 | 114.60
|  | 10 | 116.00 |  | 1.38 |  | 62,293 |  | 27 |  | 0.25 |  | 114.60 | 117.48
|  | 11 | 121.24 |  | 1.04 |  | 15,010 |  | 40 |  | 0.04 |  | 120.64 | 122.12
|  | 12 | 128.12 |  | 0.22 |  | 7,078 |  | 58 |  | 0.02 |  | 127.16 | 129.64
|  | 13 | 162.12 |  | 10.91 |  | 263,481 |  | 163 |  | 1.01 |  | 160.92 | 165.40
|  | 14 | 209.00 |  | 11.32 |  | 382,187 |  | 331 |  | 1.16 |  | 206.28 | 210.64
|  | 15 | 212.00 |  | 5.68 |  | 209,578 |  | 346 |  | 0.62 |  | 210.64 | 214.04
|  | 16 | 215.40 |  | 0.20 |  | 7,830 |  | 363 |  | 0.02 |  | 214.04 | 215.72
|  | 17 | 215.88 |  | 0.21 |  | 1,415 |  | 365 |  | <0.01 |  | 215.72 | 215.96
|  | 18 | 216.08 |  | 0.21 |  | 6,117 |  | 366 |  | 0.02 |  | 215.96 | 217.40
|  | 19 | 228.72 |  | 0.82 |  | 42,401 |  | 441 |  | 0.12 |  | 227.04 | 231.88
|  | 20 | 280.16 |  | 14.14 |  | 1,123,624 |  | 5,000 |  | N/A |  | 278.88 | 286.88
|  | 21 | 289.24 |  | 1.74 |  | 279,759 |  | > 5k |  | N/A |  | 286.92 | 303.80
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2