## FolderReportMainPage
| Result: |  |  | 1101122Fx samples_S1_sample14_repeat25,30.bopx
| Test Time: |  |  | 2021-Nov-23 10:01(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 164
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample14_repeat25,30 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 106.56 |  | 2.08 |  | 57,598 |  | <LM |  | N/A |  | 105.44 | 107.84
|  | 2 | 108.36 |  | 1.96 |  | 41,048 |  | <LM |  | N/A |  | 107.84 | 109.56
|  | 3 | 110.20 |  | 0.96 |  | 18,696 |  | <LM |  | N/A |  | 109.56 | 110.52
|  | 4 | 112.20 |  | 17.47 |  | 252,397 |  | 20 |  | N/A |  | 110.52 | 112.96
|  | 5 | 113.12 |  | 1.42 |  | 22,641 |  | 22 |  | 0.11 |  | 112.96 | 113.64
|  | 6 | 115.16 |  | 2.54 |  | 103,992 |  | 27 |  | 0.39 |  | 113.64 | 116.80
|  | 7 | 124.48 |  | 0.19 |  | 2,157 |  | 50 |  | <0.01 |  | 123.84 | 125.16
|  | 8 | 161.00 |  | 7.24 |  | 176,830 |  | 163 |  | 0.67 |  | 159.84 | 164.28
|  | 9 | 201.24 |  | 12.12 |  | 404,895 |  | 300 |  | 1.30 |  | 198.56 | 203.24
|  | 10 | 205.16 |  | 10.31 |  | 370,284 |  | 320 |  | 1.15 |  | 203.24 | 207.36
|  | 11 | 207.64 |  | 0.24 |  | 6,782 |  | 332 |  | 0.02 |  | 207.40 | 210.56
|  | 12 | 217.12 |  | 0.81 |  | 29,562 |  | 378 |  | 0.08 |  | 215.40 | 217.80
|  | 13 | 218.44 |  | 0.83 |  | 54,710 |  | 385 |  | 0.16 |  | 217.80 | 224.28
|  | 14 | 278.20 |  | 10.85 |  | 880,987 |  | 5,000 |  | N/A |  | 276.80 | 284.32
|  | 15 | 284.48 |  | 1.00 |  | 7,269 |  | > 5k |  | N/A |  | 284.32 | 284.56
|  | 16 | 287.04 |  | 1.93 |  | 313,593 |  | > 5k |  | N/A |  | 284.60 | 303.28
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2