## FolderReportMainPage
| Result: |  |  | 1101122Fx samples_S1_sample21_repeat29,30.bopx
| Test Time: |  |  | 2021-Nov-23 10:17(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 162
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | sample21_repeat29,30 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.52 |  | 0.17 |  | 3,558 |  | <LM |  | N/A |  | 59.76 | 60.60
|  | 2 | 60.76 |  | 0.18 |  | 1,370 |  | <LM |  | N/A |  | 60.60 | 60.88
|  | 3 | 61.08 |  | 0.18 |  | 1,544 |  | <LM |  | N/A |  | 60.96 | 61.28
|  | 4 | 61.44 |  | 0.18 |  | 1,400 |  | <LM |  | N/A |  | 61.28 | 61.56
|  | 5 | 61.76 |  | 0.19 |  | 2,132 |  | <LM |  | N/A |  | 61.56 | 62.00
|  | 6 | 62.20 |  | 0.18 |  | 1,386 |  | <LM |  | N/A |  | 62.00 | 62.28
|  | 7 | 62.48 |  | 0.17 |  | 1,388 |  | <LM |  | N/A |  | 62.40 | 62.68
|  | 8 | 62.88 |  | 0.18 |  | 1,645 |  | <LM |  | N/A |  | 62.68 | 63.20
|  | 9 | 105.88 |  | 2.05 |  | 58,939 |  | <LM |  | N/A |  | 104.48 | 107.16
|  | 10 | 107.72 |  | 2.06 |  | 41,318 |  | <LM |  | N/A |  | 107.20 | 108.80
|  | 11 | 109.48 |  | 1.05 |  | 20,761 |  | <LM |  | N/A |  | 108.80 | 109.80
|  | 12 | 111.40 |  | 17.54 |  | 252,663 |  | 20 |  | N/A |  | 109.80 | 112.12
|  | 13 | 112.28 |  | 1.50 |  | 22,965 |  | 22 |  | 0.11 |  | 112.16 | 112.80
|  | 14 | 114.24 |  | 2.61 |  | 106,444 |  | 27 |  | 0.41 |  | 112.80 | 115.92
|  | 15 | 159.88 |  | 5.45 |  | 134,604 |  | 163 |  | 0.52 |  | 158.72 | 162.96
|  | 16 | 203.84 |  | 16.77 |  | 741,289 |  | 320 |  | 2.32 |  | 200.92 | 206.44
|  | 17 | 207.52 |  | 1.16 |  | 47,578 |  | 338 |  | 0.15 |  | 206.44 | 209.28
|  | 18 | 211.16 |  | 1.03 |  | 41,739 |  | 356 |  | 0.12 |  | 209.48 | 213.24
|  | 19 | 276.36 |  | 8.84 |  | 703,688 |  | 5,000 |  | N/A |  | 275.00 | 282.52
|  | 20 | 284.88 |  | 1.54 |  | 65,565 |  | > 5k |  | N/A |  | 282.52 | 284.96
|  | 21 | 285.20 |  | 1.56 |  | 198,971 |  | > 5k |  | N/A |  | 284.96 | 302.16
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2