## FolderReportMainPage
| Result: |  |  | 1101130 Fx RM samples_RM07,168_repeat 38,346.bopx
| Test Time: |  |  | 2021-Nov-30 13:29(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 120
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | RM07,168_repeat 38,346 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 104.44 |  | 1.65 |  | 58,972 |  | <LM |  | N/A |  | 103.16 | 105.76
|  | 2 | 106.28 |  | 2.16 |  | 45,869 |  | <LM |  | N/A |  | 105.76 | 107.40
|  | 3 | 109.24 |  | 16.74 |  | 246,858 |  | 20 |  | N/A |  | 107.44 | 109.96
|  | 4 | 110.12 |  | 1.76 |  | 25,346 |  | 22 |  | 0.12 |  | 109.96 | 110.56
|  | 5 | 111.60 |  | 1.82 |  | 73,008 |  | 26 |  | 0.29 |  | 110.56 | 113.28
|  | 6 | 120.52 |  | 0.33 |  | 4,841 |  | 48 |  | 0.01 |  | 120.08 | 121.08
|  | 7 | 154.36 |  | 0.28 |  | 7,084 |  | 156 |  | 0.03 |  | 153.68 | 155.00
|  | 8 | 155.92 |  | 4.54 |  | 105,808 |  | 161 |  | 0.42 |  | 155.00 | 158.28
|  | 9 | 205.16 |  | 9.47 |  | 342,476 |  | 350 |  | 1.05 |  | 202.76 | 207.80
|  | 10 | 207.92 |  | 0.40 |  | 2,322 |  | 363 |  | <0.01 |  | 207.84 | 208.04
|  | 11 | 208.16 |  | 0.38 |  | 11,218 |  | 365 |  | 0.03 |  | 208.04 | 210.28
|  | 12 | 269.56 |  | 13.59 |  | 970,906 |  | 5,000 |  | N/A |  | 268.36 | 275.96
|  | 13 | 276.08 |  | 0.86 |  | 6,115 |  | > 5k |  | N/A |  | 275.96 | 276.20
|  | 14 | 278.36 |  | 1.52 |  | 213,723 |  | > 5k |  | N/A |  | 276.20 | 286.88
|  | 15 | 287.04 |  | 0.27 |  | 6,411 |  | > 5k |  | N/A |  | 286.88 | 287.84
|  | 16 | 287.92 |  | 0.27 |  | 1,794 |  | > 5k |  | N/A |  | 287.84 | 288.08
|  | 17 | 288.16 |  | 0.26 |  | 5,948 |  | > 5k |  | N/A |  | 288.08 | 289.00
|  | 18 | 289.12 |  | 0.23 |  | 3,774 |  | > 5k |  | N/A |  | 289.04 | 289.68
|  | 19 | 289.88 |  | 0.21 |  | 8,158 |  | > 5k |  | N/A |  | 289.68 | 291.68
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2