## FolderReportMainPage
| Result: |  |  | 1101130 Fx RM samples_RM07,174_repeat 114.bopx
| Test Time: |  |  | 2021-Nov-30 13:44(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-5 & 118
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | RM07,174_repeat 114 |  |  |  | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.56 |  | 0.19 |  | 8,193 |  | <LM |  | N/A |  | 55.08 | 59.68
|  | 2 | 59.80 |  | 0.19 |  | 3,141 |  | <LM |  | N/A |  | 59.68 | 60.32
|  | 3 | 60.52 |  | 0.20 |  | 1,929 |  | <LM |  | N/A |  | 60.40 | 60.76
|  | 4 | 60.92 |  | 0.20 |  | 2,395 |  | <LM |  | N/A |  | 60.80 | 61.24
|  | 5 | 61.64 |  | 0.21 |  | 3,322 |  | <LM |  | N/A |  | 61.24 | 62.40
|  | 6 | 104.24 |  | 1.52 |  | 55,397 |  | <LM |  | N/A |  | 103.00 | 105.48
|  | 7 | 106.08 |  | 2.28 |  | 48,475 |  | <LM |  | N/A |  | 105.52 | 107.16
|  | 8 | 108.96 |  | 16.96 |  | 251,905 |  | 20 |  | N/A |  | 107.16 | 109.64
|  | 9 | 109.84 |  | 1.83 |  | 28,374 |  | 22 |  | 0.13 |  | 109.64 | 110.28
|  | 10 | 111.24 |  | 1.89 |  | 72,821 |  | 26 |  | 0.29 |  | 110.28 | 112.96
|  | 11 | 120.20 |  | 0.33 |  | 4,441 |  | 48 |  | <0.01 |  | 119.76 | 120.64
|  | 12 | 120.84 |  | 0.21 |  | 4,873 |  | 50 |  | <0.01 |  | 120.64 | 121.72
|  | 13 | 123.12 |  | 0.22 |  | 8,087 |  | 57 |  | 0.02 |  | 122.04 | 124.44
|  | 14 | 155.48 |  | 1.78 |  | 39,833 |  | 161 |  | 0.16 |  | 154.52 | 156.64
|  | 15 | 165.88 |  | 3.48 |  | 88,955 |  | 195 |  | 0.34 |  | 164.72 | 167.40
|  | 16 | 205.32 |  | 0.25 |  | 10,139 |  | 353 |  | 0.03 |  | 203.40 | 206.32
|  | 17 | 228.56 |  | 0.23 |  | 11,068 |  | 515 |  | 0.03 |  | 226.72 | 229.88
|  | 18 | 231.56 |  | 0.21 |  | 10,589 |  | 572 |  | 0.03 |  | 230.04 | 232.72
|  | 19 | 235.80 |  | 1.73 |  | 129,338 |  | 663 |  | 0.39 |  | 232.76 | 239.16
|  | 20 | 269.00 |  | 14.26 |  | 1,018,746 |  | 5,000 |  | N/A |  | 267.84 | 275.84
|  | 21 | 278.04 |  | 1.41 |  | 187,642 |  | > 5k |  | N/A |  | 275.84 | 285.48
|  | 22 | 285.56 |  | 0.21 |  | 3,587 |  | > 5k |  | N/A |  | 285.48 | 286.16
|  | 23 | 286.28 |  | 0.20 |  | 8,773 |  | > 5k |  | N/A |  | 286.20 | 287.84
|  | 24 | 288.00 |  | 0.22 |  | 20,929 |  | > 5k |  | N/A |  | 287.84 | 296.32
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2