## FolderReportMainPage
| Result: |  |  | FX-test_S2A06_R1.bopx
| Test Time: |  |  | 2022-Aug-17 13:32(UTC+08) |  |  |  | Instrument ID: |  |  |  | 30030082451700
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 7
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-220815-7 & 186
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2022-Aug-15 & 2023-Feb-11
| Sample ID: | [6 empty] | Alignment Marker: |  |  |  | 20-5K (20 bp & 5K bp)
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 53.96 |  | 0.24 |  | 7,495 |  | <LM |  | N/A |  | 52.64 | 54.16
|  | 2 | 54.36 |  | 0.23 |  | 2,014 |  | <LM |  | N/A |  | 54.16 | 54.48
|  | 3 | 54.56 |  | 0.24 |  | 1,340 |  | <LM |  | N/A |  | 54.48 | 54.68
|  | 4 | 54.88 |  | 0.23 |  | 1,717 |  | <LM |  | N/A |  | 54.68 | 54.96
|  | 5 | 55.24 |  | 0.23 |  | 2,700 |  | <LM |  | N/A |  | 54.96 | 55.40
|  | 6 | 55.68 |  | 0.23 |  | 5,966 |  | <LM |  | N/A |  | 55.40 | 57.44
|  | 7 | 86.64 |  | 0.23 |  | 4,900 |  | <LM |  | N/A |  | 85.16 | 86.84
|  | 8 | 87.56 |  | 3.03 |  | 27,484 |  | <LM |  | N/A |  | 86.92 | 87.64
|  | 9 | 87.84 |  | 3.31 |  | 54,288 |  | <LM |  | N/A |  | 87.64 | 89.00
|  | 10 | 89.44 |  | 2.58 |  | 36,780 |  | <LM |  | N/A |  | 89.00 | 90.04
|  | 11 | 90.84 |  | 1.50 |  | 29,279 |  | <LM |  | N/A |  | 90.04 | 91.00
|  | 12 | 91.80 |  | 10.11 |  | 142,331 |  | 20 |  | N/A |  | 91.00 | 92.48
|  | 13 | 92.96 |  | 1.88 |  | 58,665 |  | 26 |  | 0.20 |  | 92.48 | 94.88
|  | 14 | 104.00 |  | 0.42 |  | 10,959 |  | 65 |  | 0.03 |  | 103.24 | 105.24
|  | 15 | 111.84 |  | 0.77 |  | 9,568 |  | 95 |  | 0.03 |  | 111.40 | 112.44
|  | 16 | 128.72 |  | 0.26 |  | 5,562 |  | 160 |  | 0.01 |  | 127.96 | 129.56
|  | 17 | 130.84 |  | 23.59 |  | 426,364 |  | 168 |  | 0.96 |  | 129.68 | 135.28
|  | 18 | 166.40 |  | 15.85 |  | 445,705 |  | 329 |  | 0.76 |  | 164.48 | 168.60
|  | 19 | 168.64 |  | 0.63 |  | 4,386 |  | 343 |  | <0.01 |  | 168.60 | 168.84
|  | 20 | 169.08 |  | 0.64 |  | 20,819 |  | 346 |  | 0.04 |  | 168.84 | 170.84
|  | 21 | 171.64 |  | 0.32 |  | 11,227 |  | 364 |  | 0.02 |  | 170.84 | 173.52
|  | 22 | 179.24 |  | 5.49 |  | 178,164 |  | 425 |  | 0.29 |  | 177.72 | 181.32
|  | 23 | 181.64 |  | 0.43 |  | 16,971 |  | 449 |  | 0.03 |  | 181.32 | 183.48
|  | 24 | 184.16 |  | 0.22 |  | 3,638 |  | 474 |  | <0.01 |  | 183.48 | 184.24
|  | 25 | 184.64 |  | 0.25 |  | 7,310 |  | 480 |  | 0.01 |  | 184.24 | 186.04
|  | 26 | 211.76 |  | 0.24 |  | 8,016 |  | 2,450 |  | <0.01 |  | 210.32 | 212.00
|  | 27 | 212.76 |  | 0.28 |  | 5,560 |  | 2,624 |  | <0.01 |  | 212.00 | 212.84
|  | 28 | 214.04 |  | 0.35 |  | 10,384 |  | 2,864 |  | <0.01 |  | 212.88 | 214.12
|  | 29 | 214.24 |  | 0.33 |  | 10,881 |  | 2,904 |  | <0.01 |  | 214.16 | 216.88
|  | 30 | 222.16 |  | 8.31 |  | 696,540 |  | 5,000 |  | N/A |  | 220.76 | 235.28
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2