## FolderReportMainPage
| Result: |  |  | 1110124HD clinical sample_C3_repeat17,22.bopx
| Test Time: |  |  | 2022-Jan-25 10:44(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 154
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_C3_repeat17,22 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.96 |  | 0.23 |  | 7,247 |  | <LM |  | N/A |  | 58.48 | 60.08
|  | 2 | 60.24 |  | 0.23 |  | 3,195 |  | <LM |  | N/A |  | 60.08 | 60.84
|  | 3 | 108.96 |  | 2.56 |  | 36,910 |  | <LM |  | N/A |  | 107.60 | 109.32
|  | 4 | 109.68 |  | 2.27 |  | 30,131 |  | <LM |  | N/A |  | 109.32 | 110.72
|  | 5 | 114.88 |  | 0.20 |  | 2,943 |  | <LM |  | N/A |  | 114.44 | 115.20
|  | 6 | 116.00 |  | 0.81 |  | 11,665 |  | <LM |  | N/A |  | 115.20 | 116.16
|  | 7 | 117.28 |  | 27.14 |  | 352,119 |  | 20 |  | N/A |  | 116.16 | 119.28
|  | 8 | 152.20 |  | 1.07 |  | 17,241 |  | 116 |  | 0.04 |  | 151.32 | 152.40
|  | 9 | 153.12 |  | 7.48 |  | 151,541 |  | 119 |  | 0.35 |  | 152.40 | 154.24
|  | 10 | 154.72 |  | 0.55 |  | 13,118 |  | 123 |  | 0.03 |  | 154.24 | 155.36
|  | 11 | 155.92 |  | 0.50 |  | 11,651 |  | 126 |  | 0.03 |  | 155.36 | 156.48
|  | 12 | 157.20 |  | 1.34 |  | 22,533 |  | 130 |  | 0.05 |  | 156.48 | 157.48
|  | 13 | 158.20 |  | 5.27 |  | 118,311 |  | 133 |  | 0.27 |  | 157.48 | 159.32
|  | 14 | 159.84 |  | 0.46 |  | 12,192 |  | 137 |  | 0.03 |  | 159.32 | 160.56
|  | 15 | 162.84 |  | 1.81 |  | 94,016 |  | 145 |  | 0.21 |  | 160.56 | 165.28
|  | 16 | 225.56 |  | 0.23 |  | 7,815 |  | 353 |  | 0.01 |  | 223.56 | 227.36
|  | 17 | 242.48 |  | 0.37 |  | 18,352 |  | 447 |  | 0.03 |  | 240.44 | 243.88
|  | 18 | 245.28 |  | 7.03 |  | 237,970 |  | 466 |  | 0.35 |  | 243.88 | 249.20
|  | 19 | 267.84 |  | 28.23 |  | 1,253,715 |  | 1,000 |  | N/A |  | 266.52 | 274.84
|  | 20 | 274.96 |  | 0.20 |  | 2,560 |  | 1,405 |  | <0.01 |  | 274.92 | 275.40
|  | 21 | 275.60 |  | 0.19 |  | 2,373 |  | 1,459 |  | <0.01 |  | 275.40 | 275.88
|  | 22 | 276.08 |  | 0.19 |  | 1,255 |  | 1,501 |  | <0.01 |  | 275.92 | 276.16
|  | 23 | 276.72 |  | 0.19 |  | 9,731 |  | 1,558 |  | 0.04 |  | 276.28 | 279.64
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2