## FolderReportMainPage
| Result: |  |  | 1110121HD_clinical sample_D3_repeat22,44.bopx
| Test Time: |  |  | 2022-Jan-21 13:49(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.0 & 114
| Method: |  |  | M-4-10-06-300 |  |  |  | Cartridge & Run Number: |  |  |  | S1-O-211115-6 & 165
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2021-Nov-15 & 2022-May-14
| Sample ID: |  |  | HD_D3 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 1 |  |  |  | /2
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 58.88 |  | 0.22 |  | 6,489 |  | <LM |  | N/A |  | 57.36 | 59.08
|  | 2 | 59.28 |  | 0.24 |  | 2,276 |  | <LM |  | N/A |  | 59.08 | 59.44
|  | 3 | 59.64 |  | 0.24 |  | 4,971 |  | <LM |  | N/A |  | 59.56 | 60.40
|  | 4 | 60.48 |  | 0.21 |  | 6,212 |  | <LM |  | N/A |  | 60.40 | 62.60
|  | 5 | 107.56 |  | 0.37 |  | 6,147 |  | <LM |  | N/A |  | 106.60 | 107.72
|  | 6 | 108.28 |  | 2.11 |  | 26,383 |  | <LM |  | N/A |  | 107.72 | 108.64
|  | 7 | 109.04 |  | 1.85 |  | 23,423 |  | <LM |  | N/A |  | 108.68 | 109.80
|  | 8 | 114.32 |  | 0.21 |  | 5,788 |  | <LM |  | N/A |  | 112.84 | 114.56
|  | 9 | 115.44 |  | 0.79 |  | 12,029 |  | <LM |  | N/A |  | 114.56 | 115.60
|  | 10 | 116.72 |  | 26.43 |  | 338,690 |  | 20 |  | N/A |  | 115.60 | 118.60
|  | 11 | 155.88 |  | 0.34 |  | 5,071 |  | 131 |  | 0.01 |  | 155.16 | 155.96
|  | 12 | 156.84 |  | 11 |  | 29,294 |  | 134 |  | 0.07 |  | 155.96 | 156.96
|  | 13 | 157.68 |  | 10.27 |  | 219,990 |  | 181 |  | 0.51 |  | 156.96 | 158.80
|  | 14 | 159.32 |  | 0.94 |  | 21,812 |  | 141 |  | 0.05 |  | 158.84 | 159.96
|  | 15 | 160.64 |  | 0.91 |  | 25,078 |  | 144 |  | 0.06 |  | 160.00 | 161.72
|  | 16 | 162.20 |  | 0.23 |  | 8,678 |  | 149 |  | 0.02 |  | 161.92 | 165.16
|  | 17 | 176.96 |  | 0.20 |  | 4,929 |  | 193 |  | 0.01 |  | 175.16 | 177.08
|  | 18 | 179.80 |  | 1.81 |  | 99,868 |  | 178 |  | 0.20 |  | 177.08 | 183.04
|  | 19 | 183.20 |  | 0.26 |  | 1,771 |  | 211 |  | <0.01 |  | 183.04 | 183.28
|  | 20 | 183.80 |  | 0.28 |  | 8,220 |  | 213 |  | 0.02 |  | 183.32 | 184.56
|  | 21 | 184.64 |  | 0.21 |  | 6,882 |  | 215 |  | 0.01 |  | 184.56 | 187.00
|  | 22 | 240.92 |  | 18.11 |  | 644,321 |  | 466 |  | 0.96 |  | 239.76 | 245.44
|  | 23 | 245.56 |  | 0.21 |  | 13,038 |  | 500 |  | 0.02 |  | 245.48 | 249.32
|  | 24 | 256.64 |  | 0.34 |  | 12,349 |  | 727 |  | 0.02 |  | 255.24 | 258.56
|  | 25 | 262.72 |  | 27.25 |  | 1,140,898 |  | 1,000 |  | N/A |  | 261.40 | 270.52
Copyright 2005 - 2021 BiOptic Inc. | [5 empty] | 2 |  |  |  | /2