## FolderReportMainPage
| Result: |  |  | 20250313_SMN2-S_1_1_S1C02_R1.bopx
| Test Time: |  |  | 2025-Mar-13 18:02(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 150
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S_1:1 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 63.44 |  | 1.05 |  | 7,053 |  | <LM |  | N/A |  | 63.08 | 63.72
|  | 2 | 65.04 |  | 13.59 |  | 102,856 |  | 20 |  | N/A |  | 64.16 | 65.92
|  | 3 | 72.88 |  | 0.19 |  | 6,174 |  | 85 |  | 0.03 |  | 70.80 | 74.00
|  | 4 | 96.24 |  | 6.41 |  | 120,635 |  | 294 |  | 0.40 |  | 94.92 | 97.20
|  | 5 | 99.40 |  | 7.11 |  | 135,173 |  | 336 |  | 0.53 |  | 97.72 | 100.44
|  | 6 | 100.72 |  | 0.25 |  | 6,379 |  | 357 |  | 0.02 |  | 100.44 | 101.52
|  | 7 | 101.72 |  | 0.19 |  | 7,079 |  | 374 |  | 0.03 |  | 101.56 | 104.08
|  | 8 | 113.84 |  | 9.23 |  | 200,017 |  | 1,000 |  | N/A |  | 112.72 | 116.28
|  | 9 | 116.36 |  | 0.17 |  | 8,431 |  | 1,338 |  | N/A |  | 116.28 | 120.08
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1